Bid Documents

(RFP)

Name of Work: - Supply and Installation of 20KVA Diesel Generator for Faculty of Engineering KIU Main Campus Gilgit

Opening Date			:				June 03, 2020

Opening Time			:				11:30 AM

Venue				:				University Conference Hall

Name of Contractor	:	___________________________________________________________

Karakoram International University

University Road, Gilgit

Website: kiu.edu.pk

Email: dd.purchase@kiu.edu.pk

Telephone No. 05811-960010-13 (Ext No.231) Fax No.05811-960049, 960032

(Price of Bid Document Rs. 1000/-)

1.0	Definition

1.1	KIU:		Karakoram international university, Gilgit

1.2	REF:		Request for proposal

1.3	BOQ:		Bills of quantities

1.4	Warranty:	Services of items all hard ware, support, repair, replacement, backups etc. and

Services of all software including its installation, configuration, updates, upgrades and principal online support.

1.5	Items:		30 KVA Diesel Generators

1.6	Bidder:		The participant firm who has submitted the proposal

1.7	Selected Bidder: Bidder selected for award of tender for a particular work

2.0	General Requirements:

Following are the general requirements applicable for RFP

2.1	The selected bidder will be responsible for the supply, installation, integration, testing, commissioning and configuration of 30 KVA diesel generators.

2.2	Selected bidder must ensure that the supplied generator and accessories are fully operational and perform properly.

3.0	Bids Requirements:

The objectives of bids requirements is to provide bidders with the information to submit their bide in response of RFP. For all categories, bidders must follow requirements of their proposals/bids.

3.1	For this Tender PAPRA, S Para 36(b) “one stage, two envelop bidding procedures” for open competitive bidding shall be adopted.

3.2	The selected bidder shall be responsible for one year services without any extra cost of hidden charges for all the equipments provided.

4.0	Selection Procedure:

4.1	The bid found lowest with technical compliance for the quote items matching the standard specifications will be awarded the work.

5.0	Minimum requirements for service level agreements (SLA)

Following requirements for SLA applicable for this RFP:

5.1	The selected bidder shall provide 01-year warranty/services/hardware parts replacement and software support. The bidder shall ensure that all equipment and its parts are new and free from any sort of defects.

5.2	The backup of and its parts with same specifications shall be provided within 72 Hours.

5.3	Any cause of delay in response and rectification of fault will lead to financial penalties to the selected bidders and details of penalties will be corporated in SLA.

6.0	Terms of Payments:

6.1	Ninety percent (90%) of the contract amount will be paid after successful completion of work subject to certificate of technical/Inspection committee to that effect.

6.2	Ten percent (10%) of the total contract value will be retained as security/ retention money will be releases after warranty period from the date of commissioning.

  - The selected bidder shall provide the technical documentation as well as user’s manual for DG set including accessories in the form of hard copy and soft copy.

  - The earnest money 2% of the successful bidder shall be deposited in security deposit account of KIU after supply of the items as mentioned in BOQ and will be adjusted in final bill of the supplier

6.5 	All the materials required for work completion other than explicitly mentioned in the BOQ of     this RFP will be responsibility of the successful bidder.

6.6	Successful bidder is bound to deliver all items of BOQ at KIU Sub-Campuses of Ghizer & Diamer at his own risk and cost.

6.7	Additional terms and conditions may be added in the Supply order / agreement by KIU.

6.8	The successful bidder is responsible to provide onsite training for KIU technical staff.

- Liquidated Damages

7.1 	liquidated damages shall be applicable as under:

- A penalty of 0.01% per day of contract cost can be imposed for delays in supply.

- In case of failure in supply of items, 2% earnest money shall be forfeited and the supplier will be blacklisted as per PPRA rules

8.0	General Terms and Conditions:

The following general terms and conditions apply to all categories of this RFP

8.1	A bank draft equal to 2% of the total bid value from any schedule bank in favor of Karakorum international university should accompany the tender as earnest money.

The tender without earnest money will be considered as avoid tender and is liable to be rejected.

8.2	Sealed bids supported with technical catalogs will be opened on 24th December, 2018 at University conference hall.

8.3	sealed tender should be sent via TCS to the Treasurer KIU which should reach in at least by 11.00 AM in KIU and which will be opened at 11.30 AM, by hand tenders will not be accepted.

8.4	Incomplete and conditional tenders will not be entertained.

8.5	RFP will be issued to the firms having experience in supply and installation of Diesel Generators and having relevant codes from PEC Pakistan.

8.6	The University reserves the right to reject all or any of the bids as per clause 33 of the public procurement rules, 2004.

8.7	The decision of university shall be binding on all concerned and will in no case be challengeable at any forum or any court of law.

8.8	Bids are liable to be rejected if they are not conforming the terms, conditions and specifications stipulated in this RFP.

8.9	During the examination, evaluation and comparison of bids, KIU at its sole discretion may ask the bidder for clarification of its bid.

8.10	The request for clarification and response shall be in writing/email and no change in price or substance of the bid shall be sought, offered or permitted.

  - Delivery time for all items is four to six weeks after receipt of work order.

  - Bidders have to quote only one option, Bids having more than one option will be treated as non-responsive.

9.0	Clarification:

Queries regarding this RFP shall be submitted in writing to:

Qurban Ali			     Muhammad Nazakat		     	  Wajid Hussain

Assistant Executive Engineer	        	     Dy. Director purchases	     	 Director Finance

05811-960010-13(ext.219)		  05811-960010-13(ext.231)	         05811-960010-13(ext.107)

Email:qurbanali@kiu.edu.pk	       	dd.purchase@kiu.edu.pk      	        wajid.hussain@kiu.edu.pk

BOQ

Subject: - Supply and Installation of 20KVA Diesel Generator for Faculty of Engineering KIU Campus Gilgit

| S# | Description | Qty | Unit | Unit Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply, installation, Testing & commissioning of Diesel Generator 20kVA with following given technical specifications Prime Power:20KVA/16KW Standby Power:22KVA/18KW Frequency:50/60 HZ RPM: 1500 Phase/Wire: 3phase 4 wire Voltage: 415/240 V 400/230 V Power factor:0.8 Lagging Governing Type: electronic Cooling Method: Water Cycle: 4stroke Exciter Type: Self Excited Insulation Type: Class H Controlling System: Electronic Module NO. of cylinders: 3-inline Engine Make: Perkins, Cummins, Johns Deere or equivalent (make UK/ france) Alternator Make: Stamford, Leroy Somer, or equivalent. Warranty: 12Months i/c tool kit, full sound proof canopy, 3pole circuit breaker, change over panel, earthing system and required RCC/PCC foundation etc. complete. | 1 | Set |  |  |
| 2 | Supply and fixing of 25mm Sq. 4 core pvc insulated cable copper conductor. (Newage. Fast, Pak, cable or equivalent ) | 40 | Meters |  |  |
| Total Amount Rs. |  |

Qurban Ali

Assistant Executive Engineer