BID DOCUMENT

(RFP)

NAME of Work:  Supply/Installation and Fixation of Lab Equipment for KIU Mining Engineering Department

OPENING DATE				:		February 08, 2022

OPENING TIME				:		11:30 am

VENUE					:		University Conference Hall

Karakoram international university

University Road, Gilgit

Website: www.kiu.edu.pk

Email: zahid.ali@kiu.edu.pk

Tele No.05811-960010-13(Ext=231) Fax No. 05811-960049, 960032

(Price Rs.1000)

- Definitions:

  - KIU: Karakoram International University, Gilgit

  - RFP: Request for Proposal

  - Bill of Quantities (BOQ):  Means detail of equipment required, with complete specifications and quantity required attached with this RFP/bid document.

  - Warranty: Warranty for one year mean accurate functioning/ maintenance of equipment at the sole responsibilities of the supplier.

  - LE: Lab Equipment

  - Bidder: The participant firm who has submitted the proposal

  - Selected bidder: Bidder selected for award of tender for a particular work

- General Requirements:

Following are the General Requirements applicable for RFP

  - The selected bidder will be responsible for the supply and installation of equipment given in BOQ for Mining Engineering Department under development project.

  - Selected bidder must ensure that the supplied lab equipment is fully operational and performs properly.

  - At the time of installation and commissioning, Selected Bidder must provide comprehensive system documentation of system deployed including diagrams, labeling, schematics, configuration etc.

  - The supplier will provide warranty of supplied equipment minimum for one year from the date of installation/commissioning/ functioning properly.

  - Service after sale: The supplier(s) through their authorized dealer/agent in Pakistan shall be responsible to execute with Karakoram International University (KIU), Gilgit, Gilgit-Baltistan after Sale Service Level Agreement SLA) with KIU at agreed charges, period and other terms and condition after expiry of warranty period, if deemed necessary by KIU.

  - Dealers/Agents must be: -

i). Authorized Dealers/ Agents of the manufacturer/ suppliers in Pakistan.

ii). Have valid authorized dealership/agency certificate.

iii). Have their Head Office in Pakistan.

iV). Have a qualified/professional Lab Equipment Engineer/technicians/staff capable to repair/maintain such kind of Lab/ Scientific Equipment.

v). Provide a list of minimum three public sector institutions in Pakistan to whom they supplied such kind of equipment and who are getting their services of repair/maintenance during the last 3 years.

vi) Provide “satisfactory performance” certificate” from three clients who are public sector institutions in Pakistan to whom they supplied such kind of Equipment and providing after sales services during last 3 years.

vii)  Provide a copy of their firm Registration Certificate in Pakistan, along with NTN, GST, and Sales certificate.

viii)Income Tax & Sale Tax registration be provided.

- Bids Requirements

The objective of bids requirements is to provide bidders with the information to submit their technical bid in response of RFP. For all categories, bidders must follow requirements for their proposals/bids:

  - For this tender PPRA’S Para 36(b) “One Stage two envelope bidding procedure for technical and financial bids will be followed”.

  - Bids shall comprise of two envelopes containing two separate i.e. Technical and Financial Proposal and clearly marked Technical and Financial proposals.

  - Proposals shall contain Company profile, Authorization Letters& relationship with principal firms if any etc.

  - Initially Technical proposals will be evaluated. Financial bids of only technically qualified firm shall be opened on the date specified later on.

- Minimum requirements for Service Level Agreements(SLA)

Following requirements for SLA applicable for this RFP:

  - The selected Bidder shall provide 01 years’ warranty/services/hardware parts replacement and software support. The bidder shall ensure that the equipment and its parts are new and free from any sort of defects.

  - Any cause of delay in response and rectification of fault will lead to financial penalties to the selected bidder and details of penalties will be incorporated in SLA.

- Terms of payment

  - Ninety percent (90%) of the contract amount will be paid after successful supply, installation, commissioning and functioning of duly verified, accepted and certified by the authorized inspection committee of KIU after supply & installation of equipment.

  - Ten percent (10%) of the total contract value will be retained as security/ retention money and will be released after completion of warranty period.

  - Income tax 4.5% will be deducted at source, where applicable.

  - GST/ other taxes (if any) shall be recovered if applicable.

- Liquidated Damages

  - liquidated damages shall be applicable if equipment is not supplied on the fixed date, time and venue as per detail below rate:

- A penalty of 0.01% per day of contract cost can be imposed for delays in supply up to 60 days.

- In case the delay in delivery is more than 60 days 10% Late Delivery (LD) will be imposed on the cost of un-delivered items.

- In case of failure in supply of items, 2% earnest money shall be forfeited and the supplier will be blacklisted as per PPRA rules

- Terms and Conditions of Successful bidder

  - The selected bidder shall provide the technical documentation as well as user’s manual for the equipment both in the form of hard copy and soft copy.

  - The earnest money 2% of the successful bidder shall be deposited in security deposit account of KIU after supply, installation, testing, commissioning and integration of equipment as mentioned in BOQ and will be adjusted in final bill of the supplier.

  - The equipment required for work completion other than explicitly mentioned in the BOQ of this RFP will be the responsibility of the successful bidder.

  - Successful bidder is bound to deliver the equipment of BOQ at KIU Main Store, Gilgit Campus at his own Cost and risk.

  - All the prices should be quoted in Pakistani rupees.

  - The successful bidder is responsible to provide onsite training for KIU Technical staff, minimum for 15 days to operate the equipment according to acceptable standards.

  - The selected bidder bound to provide original bill of landing /entry and paid import taxes etc.

  - In case of doubt supplied equipment will be verified from manufacturer with serial number provided on equipment or from the landing documents etc.

- General terms and conditions:

The following General terms and conditions apply to all categories of this RFP:

  - Sealed Technical bids supported with technical catalogs will be opened on February 08, 2022 at 11:30 am at KIU Conference Hall.

  - Sealed tenders should be sent via courier services to the Assistant Director Purchases, Karakoram International University, which should reach in at least by 11:00 am in KIU, which will be opened in presence of the committee members and bidders at 11:30 AM on the same date.

  - By hand tenders not be accepted.

  - Ambiguous, conditional and void tenders are liable to be rejected.

  - Taxes will be deducted at source as per rules (if applicable).

  - RFP will be issued to the firms dealing in Chemicals & Scientific Lab equipment.

  - The university reserves the rights to reject/cancel all or any of the bids as per clause 33 of the Public Procurement Rules, 2004. (Reasons to be communicated if demanded).

  - Validity period of the bids should be 90 days.

  - The decision of the University shall be binding on all concerned and will in no case be challengeable at any forum or any court of law.

  - Bids are liable to be rejected, if they are not in line with the terms, conditions and specifications stipulated in this RFP.

  - During the examination, evaluation and comparison of bids the KIU, at its sole discretion, may ask the bidder for clarification of its bid.

  - The request for clarification and response shall be in writing/email and no change in price or substance of the bid shall be sought, offered or permitted.

  - Delivery time for all items is 15 weeks after receipt of supply order.

  - Bids submitted via email or fax will not be entertained.

  - The bidder will have to submit a certificate that equipment will be provide of origin mentioned.

  - Bidders will have to provide documentary verifiable evidence regarding authorized agent/dealership of the manufacture.

  - The prospective supplier has to execute an agreement with the University that he will provide the item as per quality and quantity prescribed in the bid documents before the supply order is issued.

  - Bidders have to quote only one option, Bids having more than one option will be treated as non-responsive.

  - The quantity of equipment may increase or decrease as per requirement.

- Clarifications:

Queries regarding this RFP shall be submitted in writing to:

Eng. Naeem Abbas		 Zahid Ali   		                                    Nouman Butt

HOD Mining Engineering	Assistant Director Purchases		     Director Finance

Ph: 05811-960010-13(ext240)	Ph: 05811-960010-13 (Ext231)		   Ph: 05811-960036

nseem.abbas@kiu.edu.pk	zahid.ali @kiu.edu.pk                                 director.finance@kiu.edu.pk

13.0	I have read and accept all the terms and conditions.

Manufacturer/Supplier:

Name_________________________________________________________________

Designation____________________________________________________________		Authorized Dealer/Agent in Pakistan:

Name________________________________________________________________

Designation___________________________________________________________

Signature_____________________________________________________________

Date_________________________________________________________________

| BOQ A. Mineral Processing Laboratory |  |
| --- | --- |
| S.No | Equipment Name with Detail Specification | Qty |
|  | Liquid Sedimentation Apparatus Experiments in the fundamentals of sedimentation. Transparent tanks with scale for comparison of the settling velocities of solids in various suspensions. Tanks removable for filling, mixing and cleaning. Tanks backlit by fluorescent tubes to aid observation. Measuring beakers for preparation of suspensions. Stopwatch to record the sedimentation time. Recommended accessories: balance, coagulant. Technical Data Tanks Length: 800-1000mm Inside diameter: 42-50mm Scale division: 1mm Material: Plexiglas Measuring beakers Capacity: 3000-5000ml Scale division: 100ml Stopwatch Resolution: 1/100sec Origin. Italy/UK/USA/China or Equivalent | 01 |
|  | Shaking table (with stand) Max. DIMENSIONS: 2420 X 965 1300 mm Max. WT: 370kg DECK DIMENSIONS: 0.8m2 (nominal) Wash Water requirement : 6-12 l/min Feed dilution to ~25-30% w/w solids CAPACITY: SAMPLES 1-20 KG CONTINUOUS <75KG/HOUR SINGLE PHASE 110/230 V 50/60HZ MOTOR POWER: 0.30-0.50 kW Max. DIMENSIONS: 2420 X 965 1300 mm Max. WT: 370kg DECK DIMENSIONS: 0.8m2 (nominal) Wash Water requirement : 6-12 l/min Feed dilution to ~25-30% w/w solids CAPACITY: SAMPLES 1-20 KG CONTINUOUS <75KG/HOUR SINGLE PHASE 110/230 V 50/60HZ Origin. Italy/UK/USA/ China or Equivalent | 01 |
|  | Drum-type magnetic separator Drum Diameter = 10- 15 inch Drum width 10-15 inch Powerful magnetic zone Hooper for feeding Aluminum made electromagnetic drum Dust tight Access door for inspection and maintenance Adjustable feed gate Adjustable magnet position Continuous cleaning discharge Outlet with splitter Adjustable Magnetic Field strength <12000GS Adjustable Drum speed Adjustable splitter. Origin: Italy/UK/USA/ China or Equivalent | 01 |
|  | Muffle Furnace Maximum Temperature 1200˚C Chamber size =>300 x 500 x 190 mm External size =>600 x 860 x 735 mm Temperature stability: ±1°C Heating speed: 1 - 20°C/min Origin. Italy/UK/USA or Equivalent | 01 |
|  | Rod Mill Drum size for laboratory Volume 5-15L Capacity 1-5kg Drum speed 90-100 rpm Output <0.074mm Feed size <3mm Steel rod diameter 15, 18, 22 mm Length 250-300mm Steel ball dia 20-30mm Origin. Italy/UK/USA/China or Equivalent | 01 |
|  | XRF +XRD XRF An energy dispersive benchtop polarization x-ray fluorescence spectrometer for multi-element analysis in the laboratory. The excitation radiation is optimized to groups of elements by polarization and secondary targets. This instrument is optimized for best sensitivity for medium to high atomic numbers. The simultaneous recording of all elements from sodium to uranium enables screening analyses within seconds. Excitation XRF should have 50 Watt end-window tube to excite the samples. The adaptive excitation should offers different excitation conditions ensuring optimum determination of elements in the range from Na to U. Measurements should be conducted in a He gas atmosphere or in a vacuum; many applications even in air. Excitation System • X-ray tube with thick binary Pd/Co alloy anode with air-cooling • Max. power: 50 W • Max. voltage: 60 kV • Max. current: 2 mA • Adaptive excitation system with optimized filters, four different excitation modes Sample handling • Sample tray with 12 positions for samples with diameters of 32 or 40 mm • Sample spinner for 40 mm samples, operating at ~ 2 rpm • Analysis in He atmosphere or in vacuum Detection system • SDD with Peltier cooling • Large detector area (30 mm2, active area 20 mm2) • Spectral resolution (FWHM): 130 eV for Mn K-alpha • Input count rate up to 1,000,000 counts per second • Detector filter changer for active pile-up reduction Petrology/geology trace method Quantitative analysis of minor and trace element content in samples from geochemistry applications. Elements covered (in He or vacuum): Na, Mg, Al, Si, P, S, Cl, K, Ca, Ti, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, Ga, Ge, As, Se, Br, Rb, Sr, Y, Zr, Nb, Mo, Ag, Cd, Sn, Sb, Te, I, Cs, Ba, La, Ce, Hf, Ta, W, Hg, Tl, Pb, Bi, Th, U. Turboquant Alloys (TQA) Turboquant-screening analysis for various types of alloys. Elements covered (in He or vacuum): Mg, Al, Si, P, S, Ca, Ti, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, As, Se, Br, Zr, Nb, Mo, Ag, Cd, Sn, Sb, Te, Hf, Ta, W, Pt, Au, Tl, Pb, Bi. Fundamental Parameters Method Elemental screening analysis of solids, powders and liquids with input on sample matrix. For the analysis of oil, water and loose powder samples the sample cups liquid protect with additional safety window are used. Oil/water: Elements covered (in He): S, Cl, K, Ca, Ti, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, Ga, Ge, As, Se, Br, Rb, Sr, Y, Zr, Nb, Mo, Ag, Cd, Sn, Sb, Te, I, Cs, Ba, La, Ce, Hf, Ta, W, Hg, Tl, Pb, Bi, Th, U. Oxidic pressed pellets: Elements covered (in He or vacuum): Na, Mg, Al, Si, P, S, Cl, K, Ca, Ti, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, Ga, Ge, As, Se, Br, Rb, Sr, Y, Zr, Nb, Mo, Ag, Cd, Sn, Sb, Te, I, Cs, Ba, La, Ce, Hf, Ta, W, Hg, Tl, Pb, Bi, Th, U. Oxidic powder: Elements covered (in He): Mg, Al, Si, P, S, Cl, K, Ca, Ti, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, Ga, Ge, As, Se, Br, Rb, Sr, Y, Zr, Nb, Mo, Ag, Cd, Sn, Sb, Te, I, Cs, Ba, La, Ce, Hf, Ta, W, Hg, Tl, Pb, Bi, Th, U. Alloys: Elements covered (in He or vacuum): Mg, Al, Si, P, S, Ca, Ti, V, Cr, Mn, Fe, Co, Ni, Cu, Zn, As, Se, Br, Zr, Nb, Mo, Ag, Cd, Sn, Sb, Te, Hf, Ta, W, Pt, Au, Tl, Pb, Bi XRD Capable of detecting the compositions of mineral ores. Energy resolution <350 eV Origin: USA / European / Japanese / Turkey/China or Equivalent | 01 |
|  | Pneumatic Classifier Machine Size (in.) 30 inch , Overflow Capacity Tons/24 hours 100 Mesh = 15 , Overflow Capacity Tons/24 hours 325 Mesh =2.8, Rake RPM = 3-6, Motor HP= 1/4, Max. Weight 505 pounds. Voltage: 220 V, 50 Hz Origin: Italy/UK/USA or equivalent. | 01 |
|  | Mineral jig Separates material based on differing densities of the material. Feed size= less than 6mm Stroke: 30-40mm Capacity= minimum 10 kg/hr. Back water consumption = 0.11-0.5 kg/min Feeding Water consumption = 0.10-0.5 kg/min Dimension (LWH)(mm) = variable for lab Origin: Italy/UK/USA/Pak/China or equivalent. | 01 |
|  | Hammer Grinding Mill Grinding chamber = 170 – 200 mm dia interchangeable fixed hammers 2-4hammers. hardness of the material to grind: 5 - 10 Mohs Max. capacity: 40 -60 kg/h Origin: Italy/UK/USA/ or equivalent | 01 |
| B. Rock Mechanics Lab |
|  | Core lapping Machine Grinding and Polishing Machine Table dimension: 775-800x280-300 mm Grinding wheel dia: 330-400 mm Max vertical daylight: 300-400 mm Min vertical daylight: 100-200 mm Max specimen size: 100-200 mm cubes and 100-200x300-400mm cylinders Machined surfaces: see schematic representation Grinding head stroke: 200-250 mm N° of grinding segments: 10-20 Grinding wheel speed: 1000-1500r.p.m. Origin: Italy/UK/USA or equivalent. | 01 |
|  | Advance Rock Triaxial Testing System Hoek Triaxial cell Max. Working Pressure = >400 bar Min. Controllable Pressure>3 bar Pressure Accuracy = 0.1-0.5bar Automatic Pressure Unit for Lateral Pressure in Hoek Triaxial Cell Hoek Triaxial Cell BX, Ø 42,04 mm dia. Hoek Triaxial Cell NX, Ø 54,74 mm dia. Hoek Triaxial Cell HQ, Ø 63,5 mm dia. Compression Jig Assembly for Rock Core Specimens, Ø54,74 mm to Ø63,5 mm High Precision Pressure Transducer and Electronics Spare Sealing Sleeves for all Hoek Triaxial Cells.. Specimen extruder for Hoek triaxial cells, supplied complete with extruder adaptors for BX, NX and HQ specimens. Adaptor set for Extruder, for BX, NX and HQ specimens. Indirect Tensile (Brazil) Test Apparatus for NX (Ø54.74 mm) Rock Specimens, ISRM. Indirect Tensile (Brazil) Test Apparatus for HQ (Ø63.5 mm) Rock Specimens, ISRM. Indirect/Splitting Tensile Test Device for NX (Ø54.74 mm) Rock Specimens, ASTM. Compression Jig Assembly for Rock Core Specimens with Ø47 to Ø63,5 mm. Compression testing machine. Capacity. >2000 KN. Upper & lower breaking blocks dimensions. Ø 300 mm Surface Hardness of bearing block. > 50 HRC Maximum Vertical Clearance Between Bearing Blocks (E). 350 mm Size of specimen for cubes. Up to 200 mm Size of specimen for cylinder. Up to Ø 160 x 320 mm Maximum working pressure. >400 bar. Origin: Italy/UK/USA or equivalent. | 01 |
|  | Strain gauge Trainer Bridge circuits: Quarter, Half and full bridges Basic range ±30-35k macrostrain Gauge factor Accuracy ±1% Analogue out put Four input channels Reading LCD display VDC analogue out put Variable resistance gases USB data link Operation from PC Accessories and consumable. 10-pin transducer connectors 50 piece of strength gauges Compensation device for up to 4 Wheatstone bridges with 1/4 or 1/2 bridge setup Bonding and catalyst agent to glue the strain gauges Connecting terminals. 50 pairs sheet Origin: Italy/UK/USA or equivalent. | 01 |
|  | Strain Gauge Kit with Digital Strain Display and Refill Kit Strain gauge kit along with all necessary accessories Origin: Italy/UK/USA or equivalent | 01 |
|  | Shear Box Testing Apparatus , ASTM D5607, ISRM Shear load capacity >50 kN Pressure Gauge range>50 kN Core Diameter: 30mm to 120mm Accessories: All accessories including: Hydraulic Pressure pumps (2) Pressure Gauges (2) Origin: Italy/UK/USA/or equivalent. | 01 |
|  | Compression Jig Assembly for rock core specimen Load capacity: 80 to 120 kN Stroke length: 15 to 25mm Platens diameter: 70-80 mm Hardness platens: 55 to 75 HRC Vertical daylight: 60-70mm Total height: 200-250mm Origin: Italy/UK/USA/or equivalent. | 01 |
|  | Photo Elasticity/Earth resistivity meter Size 25 x 12 x 5 cm Weight 750 g (including batteries)** Frequency 0.26 Hz ... 30 Hz Output current 1 μA ... 100 mA Output voltage 380 V p-p Resolution receiver 100 nV Phase resolution up to 0.05 mRad AD-converter 24 Bit Display 4 x 20 digit LCD In-Phase/Out-of-Phase-Display Accuracy 0.2 % Velocity 1 sec / measured value Origin: Italy/UK/USA/or equivalent. | 01 |
|  | Core Grinding Machine Table dimension:775-800x280-300 mm Grinding wheel dia: 330-400 mm Max vertical daylight: 300-400 mm Min vertical daylight: 100-200 mm Max specimen size: 100-200 mm cubes and 100-200x300-400 mm cylinders Machined surfaces: see schematic representation Grinding head stroke: 200-250 mm N* of grinding segments: 10-20 Grinding wheel speed: 1000-1500r.p.m. Origin: Italy/UK/USA or equivalent. | 01 |
| C. Geology Lab |
|  | Thin Section Preparation Apparatus with Accessories Trim-saw Grinding machine Jug Section Blade 8-12” Disco plan Origin: Italy/UK/USA/China or equivalent. | 01 |
|  | Polarizing Metallurgical Microscope camera pixel 20.0MP camera type USB 3.0 Compatibility PC &amp; Mac condenser design Abbe-Rack &amp; Pinion w/ diaphram , Kohler field view Extreme Widefield illumination style Incident &amp; Transmitted light type Halogen magnification power 50X-2500X microscope optics Achromatic , Plan , Infinity optics m Achromatic , Plan , Infinity Specialty Microscope-Darkfield , Microscope-Metallurgical , Microscope-Polarizing Stage Microscope-Two-layer Mechanical Stage Software. Included. Accessories. 100 pre cleaned microscope slides and 100 22 x 22 mm square cover glass. High precision tweezers 06 nos. Immersion oil ¼ oz with kimwipes. Slide preparation kit including slides. Laptop for Microscope. Intel Core i5-1035G1 (4C / 8T, 1.0 / 3.6GHz, 6MB) 4GB Soldered DDR4-2666, 1TB HDD 5400rpm 2.5&quot; Integrated Intel UHD Graphics 15.6&quot; FHD (1920x1080) TN 220nits Anti-glare Laptop/Display Unit Minerals detection manual Origin: Italy/UK/USA/China or equivalent | 02 |
| D. Mine Ventilation Lab |
| 1. | Portable Core Drill Machine Power source: Electric/ pneumatic Variable coring capacity: (30-75mm bits) NX size 54mm bit Universal core drilling machine: 0-360 degree Origin: Italy/UK/USA/or equivalent. | 01 |
| 2. | Ventilation Educator Tunnel length 12-16ft Tunnel dia 2-3 ft Motor 1-5hp Ability to measure static, dynamic and total air pressures at multiple points and determine pressure drops stemming from the ductwork’s friction and shock losses Various resistance grids Wooden rack Inclined tube manometer with connecting tubes Vertical manometer with connecting tubes Hand held tachometer Rubber banking disk Aluminum banking disk Vein anemometer Pitot traverse assembly Anemometer mounting assembly Technical manual Test duct Bench top End frame members Upper base frame members Lower base frame member He pressure regulator And all other accessories Origin: Italy/UK/USA/China/Pak or equivalent. | 01 |
| E. Mine Safety Laboratory |
| 1. | Oxygen Breathing Apparatus Cylinder volume.3L Pressure. 210bar Storing air. 600liter Supply air flow. 35liter/mint Origin: Italy/UK/USA/China/ or equivalent. | 01 |
| 2. | Self-Rescue apparatus High pressure gauge. 0-400 bar Alarm system Alarm volume >90dBA Provide 60 minutes of rescue oxygen and up to 5 hours while rescue. Origin: Italy/UK/USA/China/ or equivalent | 01 |
| F. Mine Survey Laboratory |  |
| 1. | Total Station Display Resolution. 1” Angle Accuracy. 1” Magnification. 30 X Objective Aperture. 40mm/50 mm (EDM) Reflector less measuring range. 800 m or better. Range with one prism. 3000 m or above Distance measurement accuracy. 2 mm + 1.5 ppm Measuring time. 1s Software. Real time operating system, on board software built in Display. Dual face high resolution 256 color LCD display Resolution. 320x 240 x pixel or above. 2 side Alpha numerical back lite key board. Internal memory. >2000 points. With USB 32 GB or above. Plummet. Laser plummet Battery. 02 No,s rechargeable battery Operating time. <18 hours with each battery. Accessories. Single prism target set, includes, Single prism, single tilting mount with Coaxial target plate & soft case, Telescope range pole graduated 2.6 meter built in bubble with soft case and Aluminum heavy duty Tripod complete set. Warranty. 02 year Origin: Italy/UK/USA/Sweden or equivalent. | 01 |
| 2. | Aerial Mapping System (RTK Drone + Software’s) RTK and Drone along with all accessories Dimensions Unfolded, propellers excluded, 810×670×430 mm (L×W×H) Folded, propellers included, 430×420×430 mm (L×W×H) Diagonal Wheelbase 895 mm Weight (with single downward gimbals) Approx. 3.6 kg (without batteries) Approx. 6.3 kg (with two TB60 Approx. 3.6 kg (without batteries) Approx. 6.3 kg (with two TB60 batteries) Single Gimbals Damper’s Max Payload 930g Max Takeoff Weight 9 kg Operating Frequency 2.4000-2.4835 GHz 5.725-5.850 GHz EIRP 2.4000-2.4835 GHz: 29.5 dBm (FCC); 18.5dBm (CE) 18.5 dBm (SRRC); 18.5dBm (MIC) 5.725-5.850 GHz: 28.5 dBm (FCC); 12.5dBm (CE) 28.5 dBm (SRRC) Hovering Accuracy (P-mode with GPS) Vertical: ±0.1 m (Vision System enabled) ±0.5 m (GPS enabled) ±0.1 m (RTK enabled) Horizontal: ±0.3 m (Vision System enabled) ±1.5 m (GPS enabled) ±0.1 m (RTK enabled) RTK Positioning Accuracy When RTK enabled and fixed: 1 cm+1 ppm (Horizontal) 1.5 cm + 1 ppm (Vertical) Max Angular Velocity Pitch: 300°/s, Yaw: 100°/s Max Pitch Angle 30° (P-mode, Forward Vision System enabled: 25°) Max Ascent Speed S mode: 6 m/s P mode：5 m/s Max Descent Speed (vertical) Remote Controller Operating Frequency 2.4000-2.4835 GHz 5.725-5.850 GHz Max Transmitting Distance (unobstructed, free of interference) NCC/FCC: 15 km CE/MIC: 8 km SRRC: 8 km EIRP 2.4000-2.4835 GHz: 29.5 dBm (FCC) 18.5dBm (CE) 18.5 dBm (SRRC); 18.5dBm (MIC) 5.725-5.850 GHz: 28.5 dBm (FCC); 12.5dBm (CE) 20.5 dBm (SRRC) External battery Name: WB37 Intelligent Battery Capacity: 4920 mAh Voltage: 7.6V Type: LiPo Energy: 37.39Wh Origin: Italy/UK/USA/or equivalent. | 01 |

Eng. Naeem Abbas

HOD Mining Engineering

Ph: 05811-960010-13(ext 240)

nseem.abbas@kiu.edu.pk