BID DOCUMENT

(RFP)

NAME of Work:  Supply/Installation and Fixation of Lab Equipment for KIU Mining Engineering Department

OPENING DATE				:		March 29, 2022

OPENING TIME				:		11:30 am

VENUE					:		University Conference Hall

Karakoram international university

University Road, Gilgit

Website: www.kiu.edu.pk

Email: zahid.ali@kiu.edu.pk

Tele No.05811-960010-13(Ext=231) Fax No. 05811-960049, 960032

(Price Rs.1000)

- Definitions:

  - KIU: Karakoram International University, Gilgit

  - RFP: Request for Proposal

  - Bill of Quantities (BOQ):  Means detail of equipment required, with complete specifications and quantity required attached with this RFP/bid document.

  - Warranty: Warranty for one year mean accurate functioning/ maintenance of equipment at the sole responsibilities of the supplier.

  - LE: Lab Equipment

  - Bidder: The participant firm who has submitted the proposal

  - Selected bidder: Bidder selected for award of tender for a particular work

- General Requirements:

Following are the General Requirements applicable for RFP

  - The selected bidder will be responsible for the supply and installation of equipment given in BOQ for Mining Engineering Department under development project.

  - Selected bidder must ensure that the supplied lab equipment is fully operational and performs properly.

  - At the time of installation and commissioning, Selected Bidder must provide comprehensive system documentation of system deployed including diagrams, labeling, schematics, configuration etc.

  - The supplier will provide warranty of supplied equipment minimum for one year from the date of installation/commissioning/ functioning properly.

  - Service after sale: The supplier(s) through their authorized dealer/agent in Pakistan shall be responsible to execute with Karakoram International University (KIU), Gilgit, Gilgit-Baltistan after Sale Service Level Agreement SLA) with KIU at agreed charges, period and other terms and condition after expiry of warranty period, if deemed necessary by KIU.

  - Dealers/Agents must be: -

i). Authorized Dealers/ Agents of the manufacturer/ suppliers in Pakistan.

ii). Have valid authorized dealership/agency certificate.

iii). Have their Head Office in Pakistan.

iV). Have a qualified/professional Lab Equipment Engineer/technicians/staff capable to repair/maintain such kind of Lab/ Scientific Equipment.

v). Provide a list of minimum three public sector institutions in Pakistan to whom they supplied such kind of equipment and who are getting their services of repair/maintenance during the last 3 years.

vi) Provide “satisfactory performance” certificate” from three clients who are public sector institutions in Pakistan to whom they supplied such kind of Equipment and providing after sales services during last 3 years.

vii)  Provide a copy of their firm Registration Certificate in Pakistan, along with NTN, GST, and Sales certificate.

viii)Income Tax & Sale Tax registration be provided.

- Bids Requirements

The objective of bids requirements is to provide bidders with the information to submit their technical bid in response of RFP. For all categories, bidders must follow requirements for their proposals/bids:

  - For this tender PPRA’S Para 36(b) “One Stage two envelope bidding procedure for technical and financial bids will be followed”.

  - Bids shall comprise of two envelopes containing two separate i.e. Technical and Financial Proposal and clearly marked Technical and Financial proposals.

  - Proposals shall contain Company profile, Authorization Letters& relationship with principal firms if any etc.

  - Initially Technical proposals will be evaluated. Financial bids of only technically qualified firm shall be opened on the date specified later on.

- Minimum requirements for Service Level Agreements(SLA)

Following requirements for SLA applicable for this RFP:

  - The selected Bidder shall provide 01 years’ warranty/services/hardware parts replacement and software support. The bidder shall ensure that the equipment and its parts are new and free from any sort of defects.

  - Any cause of delay in response and rectification of fault will lead to financial penalties to the selected bidder and details of penalties will be incorporated in SLA.

- Terms of payment

  - Ninety percent (90%) of the contract amount will be paid after successful supply, installation, commissioning and functioning of duly verified, accepted and certified by the authorized inspection committee of KIU after supply & installation of equipment.

  - Ten percent (10%) of the total contract value will be retained as security/ retention money and will be released after completion of warranty period.

  - Income tax 4.5% will be deducted at source, where applicable.

  - GST/ other taxes (if any) shall be recovered if applicable.

- Liquidated Damages

  - liquidated damages shall be applicable if equipment is not supplied on the fixed date, time and venue as per detail below rate:

- A penalty of 0.01% per day of contract cost can be imposed for delays in supply up to 60 days.

- In case the delay in delivery is more than 60 days 10% Late Delivery (LD) will be imposed on the cost of un-delivered items.

- In case of failure in supply of items, 2% earnest money shall be forfeited and the supplier will be blacklisted as per PPRA rules

- Terms and Conditions of Successful bidder

  - The selected bidder shall provide the technical documentation as well as user’s manual for the equipment both in the form of hard copy and soft copy.

  - The earnest money 2% of the successful bidder shall be deposited in security deposit account of KIU after supply, installation, testing, commissioning and integration of equipment as mentioned in BOQ and will be adjusted in final bill of the supplier.

  - The equipment required for work completion other than explicitly mentioned in the BOQ of this RFP will be the responsibility of the successful bidder.

  - Successful bidder is bound to deliver the equipment of BOQ at KIU Main Store, Gilgit Campus at his own Cost and risk.

  - All the prices should be quoted in Pakistani rupees.

  - The successful bidder is responsible to provide onsite training for KIU Technical staff, minimum for 15 days to operate the equipment according to acceptable standards.

  - The selected bidder bound to provide original bill of landing /entry and paid import taxes etc.

  - In case of doubt supplied equipment will be verified from manufacturer with serial number provided on equipment or from the landing documents etc.

- General terms and conditions:

The following General terms and conditions apply to all categories of this RFP:

  - Sealed Technical bids supported with technical catalogs will be opened on March 29, 2022 at 11:30 am at KIU Conference Hall.

  - Sealed tenders should be sent via courier services to the Assistant Director Purchases, Karakoram International University, which should reach in at least by 11:00 am in KIU, which will be opened in presence of the committee members and bidders at 11:30 AM on the same date.

  - By hand tenders not be accepted.

  - Ambiguous, conditional and void tenders are liable to be rejected.

  - Taxes will be deducted at source as per rules (if applicable).

  - RFP will be issued to the firms dealing in Chemicals & Scientific Lab equipment.

  - The university reserves the rights to reject/cancel all or any of the bids as per clause 33 of the Public Procurement Rules, 2004. (Reasons to be communicated if demanded).

  - Validity period of the bids should be 90 days.

  - The decision of the University shall be binding on all concerned and will in no case be challengeable at any forum or any court of law.

  - Bids are liable to be rejected, if they are not in line with the terms, conditions and specifications stipulated in this RFP.

  - During the examination, evaluation and comparison of bids the KIU, at its sole discretion, may ask the bidder for clarification of its bid.

  - The request for clarification and response shall be in writing/email and no change in price or substance of the bid shall be sought, offered or permitted.

  - Delivery time for all items is 15 weeks after receipt of supply order.

  - Bids submitted via email or fax will not be entertained.

  - The bidder will have to submit a certificate that equipment will be provide of origin mentioned.

  - Bidders will have to provide documentary verifiable evidence regarding authorized agent/dealership of the manufacture.

  - The prospective supplier has to execute an agreement with the University that he will provide the item as per quality and quantity prescribed in the bid documents before the supply order is issued.

  - Bidders have to quote only one option, Bids having more than one option will be treated as non-responsive.

  - The quantity of equipment may increase or decrease as per requirement.

- Clarifications:

Queries regarding this RFP shall be submitted in writing to:

Eng. Naeem Abbas		 Zahid Ali   		                                    Nouman Butt

HOD Mining Engineering	Assistant Director Purchases		     Director Finance

Ph: 05811-960010-13(ext240)	Ph: 05811-960010-13 (Ext231)		   Ph: 05811-960036

naeem.abbas@kiu.edu.pk	zahid.ali @kiu.edu.pk                                 director.finance@kiu.edu.pk

13.0	I have read and accept all the terms and conditions.

Manufacturer/Supplier:

Name_________________________________________________________________

Designation____________________________________________________________		Authorized Dealer/Agent in Pakistan:

Name________________________________________________________________

Designation___________________________________________________________

Signature_____________________________________________________________

Date_________________________________________________________________

BOQ

A. Mineral Processing Lab

| Sr. No. | Equipment Name | Quantity |
| --- | --- | --- |
| 1 | 8" Diameter fine Sieve Set Nominal sieve sizes are. Mesh Microns meter(µm) 12 1680 14 1410 16 1190 18 1000 20 841 25 707 30 595 35 500 40 400 45 354 50 297 250 210 177 150 125 105 80 Origin. USA/Europe/Japan/China, Pak | 01 |
| 2 | 8" Diameter Course Sieve Set Nominal aperture of the sieves are Mesh Microns meter(µm) 3 7086 3 6730 4 4760 5 4000 6 3360 7 2830 8 2380 10 2000 Origin. USA/Europe/Japan/China, Pak | 01 |
| 3 | Hand Mortar and Pestle Metal Type = Stainless steel Shape = conventional Size= customized size for laboratory use Origin. USA/Europe/Japan/China, Pak | 01 |
| 4 | Mechanical Balances Mechanical Balances with Calibration Weight Box. Triple Beam Balance, 2000-3000g Capacity, 0.1g Readability 6Pcs 5g 10g 2x20g 50g 100g Grams Precision Steel Calibration Weight Kit Set with Tweezers for Balance Scale Origin. USA /Japan or /European Countries | 01 |
| 5 | Pulp Density and Specific Gravity Scale Cover specific gravities of dry solids ranging from 1.2 to 7.8. A 1,000ml stainless steel container with overflow holes required. Must include 1000ml plastic container 1000ml steel container 10-12 interchangeable dial faces Origin. USA /Japan or /European Countries | 01 |
| 6 | pH Meter Model Accuracy: ±0.02 pH Temperature compensation: automatic calibration: automatic range: -2.00 - 16.00 pH Origin. USA /Japan or /European Countries | 02 |
| 7 | Digital Weight Balance Feature, display LCD Material, Stainless steel platform Capacity: 200-300g, Readability: 0.01 g Origin. USA /Japan or European Countries | 01 |
| 8 | Pneumatic Classifier Mass flow: max. 10kg/h Vibration frequency: max. 3000min-1 Zigzag sifter height: approx. 1500mm cross-sectional area: 40x50mm Cyclone: height: approx. 550mm diameter: 150mm Fan: volumetric flow rate: max. 600m3/h power consumption: approx. 3600W Tanks: feed hopper: 3L coarse material: 2L, fine material: 2L.Measuring ranges differential pressure: 2x 0…100mbar volumetric flow rate: 10…100m3/h Origin.UK/USA/Italy/China/Pak | 01 |
| B. Rock Mechanics |
| 1 | Rock Roughness testing Inclination angle: 0 - 75° Sample diameter; 100mm Dimensions: 270x175x265 mm Barton comb 150 mm length Origin, UK, USA, Italy, or European Countries | 01 |
| 2 | Core Drilling Drilling diameter. 8-60 mm Fastening Device for Core Samples, up to 100mm dia. Diamond Core Bit for 21.46mm dia. (EX) specimens, with spigot adaptor Diamond Core Bit for 30.10mm dia. Must include NX size 54mm. Origin. Italy/USA/Turkey/ China/Pak | 01 |
| 3 | Digital Vernier Caliper 300mm Origin. USA/Europe/Japan/China | 09 |
| 4 | Vernier Caliper Manual scale reading 300mm Origin. USA/Europe/Japan/China | 09 |
| 5 | Pundit portable ultrasonic nondestructive digital indicating tester Measuring range 0 -3000 microsecond Accuracy +0.1msvariable ultrasonic pulse amplitude Interface mini USB for PC connection Rechargeable battery Origin. Italy, UK, USA/China | 01 |
| 6 | Core lapping Machine and Polishing Machine The disc should be minimum 200 mm diameter and the Rotation speed >300 rpm. The machine should have 25 abrasive silicon carbide discs. . Disc Noset of 25 pieces abrasive discs Dimension 370x500x300 mm Origin. UK/USA, Italy or European countries | 01 |
| 7 | Strain Gauge Trainer Experimental unit investigating the fundamentals of strain gauge measurement. Strain gauge application areas protected by Plexiglas cover. Steel test bodies. Display of strain gauge reading on digital multimeter Tension bar Measuring length: 65mm Cross-section: 2x12mm Bending bar Length: 500mm Cross-section: 5x20mm Torsion bar Length: 500mm D=10mm Origin.UK/USA/Italy/China/Pak | 01 |
| C. Mine Ventilation |
| 1 | Digital Hydraulic Bench Centrifugal Pump Max. Flow rate:. 90 to 100 L/min Max. head: 30m to 40 Storage tank capacity: 160L to 180 Measuring Tank At large volumetric Measuring beaker with scale for very small volumetric flow rates Content: 4L to 7L Origin. Europe, USA, Italy, china, pak | 01 |
| 2 | Flow Measurement Apparatus Venturi throat diameter: 14mm to 18mm Venturi inlet diameter: 22mm to 28mm Orifice upstream diameter: 24mm to 28 mm Orifice diameter: 16mm to 18mm Rotameter maximum range: 2-40 ltr/min Origin. USA/Europe/Japan/China/Pak | 01 |
| 3 | Dead Weight Apparatus Bourdon tube manometer: 0~100mbar to 0~120mbar Bourdon tube manometer: -100~0mbar to 120~0mbar U-tube manometer: 0~500mm WC to 0~550mm WC Inclined tube manometer: 0~500mm WC to 0~550mm WC Digital Pressure Transmitter with Display Range: 0~6 bar Dead Weight Tester Diameter: 6” to 8” Bourdon tube Pressure Range: Transparent Construction 0~4 kg/cm2 Area of piston: 254x10-6m 2 Mass of piston: 0.5kg Ancillary masses: 1x 0.2kg, 2x 0.5 kg and 4x 1k Origin. USA/Europe/Japan/ China /Pak | 01 |
| 4 | Flow Through an Orifice Plexiglass cylinder: capacity: 10 ltr to 15 ltr Maximum constant head: 300mm to 350 mm Diameter of discharge nozzles 1x 5mm through, 1x 5mm slanted, 1x 8mm through, 1x 8mm slanted Origin. USA/Europe/Japan/ China /Pak | 01 |
| 5 | Energy Losses in Pipe Apparatus Water Tube Manometer – up to 10 to 15 tubes Multi-tube 300mm of WC to 350 mm WC Pressure Gauge: Gauge 2 to 4 pieces Pipe diameter (inner),: 10mm to 20 mm outer diameter: 20mm to 30mm Enlargement pipe diameter(inner),: 20mm to 25mm outer diameter: 30mm to 40 mm Contraction diameter: 10mm to 20mm 45˚ elbow, 90˚ elbow, Sharp bend, Small bend Contraction and enlargement 12 tube manometer bank Origin. USA/Europe/Japan/ China /Pak | 01 |
| 6 | Orifice Flow Meter Discharge tank: Approx. 10 ltr to 15 ltr Overflow height; 350mm to 400mm Nozzles: d=5mm to 10 mm Outer Diameter: 25mm to 35 mm 1x channel, 1x cone outlet, 1x inlet with orifice, 1x cone inlet, 1x rounded inlet Origin. USA/Europe/Japan/ China/Pak | 01 |
| 7 | Pipe Friction Inverted U-tube water manometer 0-500mm to 0-550mm U-tube mercury manometer 0-500mm to 0-550mm Water Storage Adjustable Elevated cylindrical tank for constant head Tank capacity: 1~1.8 Liter (level indicator included) Maximum flow rate: 30 L/h to 40 L/h Test pipe Length (nominal): >500mm Bore: 3~4mm to 3~6mm Origin. USA/Europe/Japan/ China/ Pak | 01 |
| 8 | Bernoulli’s Theorem Apparatus Throat diameter: 15 to 20 mm Upstream Diameter: 20 mm to 30mm Designed Flow Rate: 15 LPM to 20 LPM manometer tubes; 6 to 10each length 300 mm, to 350 mm Origin. USA/Europe/Japan/ China/ Pak | 01 |
| 9 | Water Manometer, Inclined, Multi tube, Air Pressure Water manometer, with inclined multi tube, air pressure. Angular scale. 1-360 degree. Device should allow up to 16 pressures to be monitor simultaneously Origin. USA/Europe/Japan/ China/ Pak | 01 |
| 10 | Pitot tube apparatus Pitot static tube Manometer House coupling Hydraulic bench Origin. USA/UK/Italy, China/Pak | 01 |
| D. Mine Safety |
| 1 | Portable CO2 meter Dual display of Carbon Dioxide (CO2) concentrations and Humidity, Temperature, Dew Point, Range; 0 to 9.999ppm Resolution; 1ppm Temperature; 14 to 122F Origin. Japan /USA or European Countries /China | 02 |
| 2 | Portable gas detector Should detect 4 gases. Range LEL 0-100%, O2 0-30%, CO or CO-H2 res 0-1999 ppm, Resolution 1 ppm. H2S or H2S-LC 0-200 or 0-100 ppm. Adjustable time-out Battery Rechargeable li-polymer Run time 24 hours room temperature Charging time < 4 hrs Operating temperature range -10° C to +40° C Humidity 15 – 90% Origin. USA/Japan or European Countries | 02 |
| 3 | Total &Respirable Dust Sampler Concentration Range. 0-150 mg/m3 Sample Flow Rate 3.0 L/min Detection Method Light scattering laser photometer; 90° off-axis detector Gravimetric Sampling Removable 37 mm cartridge Communications Wireless: temperature range capability of -20° to 50° C available with optional enclosure heater; 0 to 100% RH Environmental Enclosure Lockable, enclosure; 411 x 305 x 311 mm Origin, USA, Japan or European Countries | 01 |
| 4 | Digital Dust Indicator High-throughput three-channel sample gas collection system High-precision laser sensor, identify Display: Color screen display Battery: 1800mA Lithium battery Measuring Range: 0-999μg/m3 Resolution : 1.0μg/m3 CO2 Measuring Range: 0-2000ppm Resolution : 1ppm Temperature Resolution: 1℃ Accuracy: ±1℃ Measuring Range: -40~125℃ Relative Humidity Resolution: 1%RH Accuracy: ±2%RH Measuring Range: 0~100%RH Origin. USA/Europe/Japan/China | 01 |
| 5 | Mines safety Helmets Safety helmets, with torch. Origin. USA/Europe/Japan/China | 35 |
| E. Geology |
| 1 | Crystal and Atomic Structure Models 100-120 Pcs Organic Chemistry Molecular Model Student and Teacher Kit, Molecular Model Set for Inorganic & Organic Chemistry – 40-60 Atoms & 64 Links & 1 Short Link Remover Origin UK/Italy/Europe/China | 01 |
| 2 | Streak Plate Streak Plates White Porcelain Plates. Size, 1 x 2". Pack of 10 Unglazed white porcelain Origin UK/Italy/Europe/China | 15 |
| 3 | Mohr’s Hardness Scale Composed by a case containing 9 minerals of the Moh’s hardness scale and also copper strip, small glass and magnet bar. Origin UK/Italy or European Countries | 10 |
| 4 | Earth Science Collection Collection includes 60-80 mineral and rock samples Each sample is numbered and identified on the collection index sheet Samples measure approximately 1"-2" in size Rock samples include igneous, sedimentary, and metamorphic Collection contains the index sheet, an introductory study guide, a streak plate, and a magnifier Origin USA/Europe or China | 01 |
| 5 | Gold Panning Kit Material: Plastic/steel Gold Basin Size: Approx. 30-40cm Gold Sifter Size: Approx. 30-40cm Middle Gold Pan Size: Approx. 30-40cm Small Gold Pan Size: Approxim. 20-30cm Package Contents: 2-5Pcs Green Plastic Gold Pan Kit Origin USA/Europe/China. | 10 |
| 6 | Rocks, Minerals and Gemstone Collection Kit Kit Collection includes - 5pcs Mixed quartz mineral and rock samples Specimens includes: White crystal / Obsidian / Yellow quartz / Rose Quartz / Amethyst. Geology Science Kit Collection includes - 15 mineral and rock samples Specimens includes: Tektite/ Red Jasper/ Anethyst/ Meteorite/ Strawberry Quartz/ White Crystal/ Crystal / Pyrite / Aventurine/ Kyanite/ Amazonite/ Stalactite/ Carborundum/ Iceland Spar/ Prehnite Samples measure approximately 3 - 4 cm in length Origin USA/Europe/ China | 02 |
| 7 | Geological Hammers pointed tip geological hammer chisel edge geological hammer USA/UK/ or European Countries | 20 |
| 8 | Acid Rain Weathering and erosion Kit Kit for examining the weathering and erosion effects of acidic rain on rock materials and metals Materials for 10-20 groups of students for hands-on learning Kit Includes: 1 bag Marble chips Calcium Carbonate 1 bag Brick chips 1 bag Granite chips 1 bag Limestone chips 1 bag Sandstone chips 1 bag Steel shot 1 bag Copper shot 1 bag Zinc shot 3 x 25ml Sulfuric acid concentrate (to make 500ml each) 120 Measuring cups, a teacher’s manual, and a student study guide Origin UK/USA/JAPANor European Countries | 10 |
| 9 | Geology Landform Demonstration Kit Over10-20 activities enable students to develop a thorough understanding of volcanic action, faulting and folding as well as many other geologic processes. Kit includes Demonstration tray, three pieces of legible foam, three simulated rock structures, an erupting volcano, miscellaneous project materials and comprehensive Study Guide. Origin USA/Europe/ China | 02 |
| 10 | Rock Tumbler Kit Rock Tumbler Kit - Rock Polisher, Noise-Reduced Barrel, Grit, 2.5 Pounds Raw Gemstone & Jasper Mix. UK/USA/ or European Countries | 02 |
| 11 | Earth Cross section Model Foam model illustrates the different parts of Earth Introduce to Earth science Outside surface shows oceans and continents Hemispheres separate to show the 4 main layers of Earth (crust, mantel, outer core, inner core) and temperatures Origin USA/Europe/China/Pak | 02 |
| 12 | Mountain Models 5 to 10-piece model useful to illustrate important folds and faults found in Earth’s crust. Students could understand fold planes, effect of tectonics stress and structural elements of a fault. Identification Key is include. Origin USA/Europe/ China/Pak | 02 |
| 13 | Contour Model Kit 3-dimensional models separates into multiple parts and shows hills, valleys, ridges, saddles, draws, spurs, cliffs, cuts and fills. Includes keycard for easy identification. Made of polyvinyl chloride (PVC) plastic for durability and mounted onto base. Origin USA/Europe/ China/Pak | 05 |
| 14 | Thin Section Jug section Blade 8-12’’ Disco Plan. Include all accessories Clamping Devices and Vauum Chucks Cutting Chamber Vacuum chunk for holding slides Diamond cutting wheel Grinding Chamber Vacuum chunk for holding slides Diamond grinding wheel Mounting Fixtures Mounting Fixture for Thin Sections mounting specimens to glass slides, its spring activated loading system provides a uniform thickness of bonding material b/w the specimen and glass slide. Fixture for mounting specimens to slides Can accommodate up to 8 specimens Vacuum Pump Suitable for accurate sizing geological thin section Geological lapping and polishing machine for thin Section of rocks and crystals including Fabricated steel body with adjustable levelling feet Heavy duty adjustable worktable Integrally mounted high torque drive with 0.5HP motor Sealed maintenance free gearbox Three adjustable conditioning ring roller bearing yoke assemblies Aku-Disp peristaltic dispenser for dosing of consumables Electronic digital timer with variable ranges Flatness Gauge included Three cast iron pressure weights complete with eyebolts Gauge Stand and Setting Block Vacuum Pump Water Trap with filter Lapping Disc Vacuum Impregnation Unit Vacuum Impregnation Unit for specimens which have porosities, cracks and cavities and therefore need to embedded Under vacuum. • Self-contained unit with gauge • Incorporated vacuum pump and control • Compact design • Efficient Impregnation • Multi-specimen • Vacuum gauge Origin. UK/USA/ITALY or China/Pak | 02 |
| 15 | Atterbergs limits Must include Liquid limit testing tool Plastic limit testing tool Shrinkage limit testing tool Origin. UK/USA/ITALY or China/Pak | 01 |
| F. Applied Electricity, Mechanical, Statics and Dynamic Lab |
| 01 | Mechanical Engineering Test Set including experimental setup for Force Set Self-contained, bench mounted. Direct measurement of forces. Adjustable lines of action of forces. Practical verification of triangle of forces, polygon of forces and link polygon. Demonstrates equilibrium of forces at a point, applied to various points round a disc or acting on a rectangular lamina. Concurrent & Non-concurrent coplanar forces Technical Data Weights: 10x 0.1N 2x 0.5N 2x 1N 2x 2N 2x 5 Moment Set L X W X H: 600x30x10mm, Centrally Ball Bearing Mounted Lever Length: 2x300mm Weights 3x 0.5n (Hangers) 6x 5n 12x 1n 6x 2n Bending Moment Include bending of beam section, bending moment, two ends support, screw jack with load cells, display unit, universal frame and stand. Shear Force Set, Total Length: 1000mm to 1200mm Span: 800mm to 1000mm Shear Force Measuring Range: -50...+50n Load 3x 0.5n (Hangers) 9x 1n 9x 5n Max. Load Per Hanger: 20n Shear Force and Bending Moment Set . Total Length: 1000mm To 1200mm Span: 800mm To 1000mm Measuring Ranges Bending Moment Via Force Gauge And Lever Arm Lever Arm: 100mm Force Gauge: -50....+50n Bending Moment:-50....+50n Shear Force: -50....+50n Steel Rule: 1000mm, Graduations: 1mm Crank and Toggle Set Crank Drive With Fixed Cylinder. Crank Drive With Swivelling Cylinder. Crank Crank Radius 20mm To 25mm 32mm To 38mm 40mm To 50mm Connecting Rod Length 110mm To 120mm 130mm To 140mm 150mm To 160mm Toggle set Force resolution on a toggle joint. Distribution of forces and reaction forces on a loaded toggle joint. Opening angle: 30-135˚ Load measuring range: 0-10kg Graduations: 50g Weights 1x 1N (hanger) 4x 2kg 1x 1kg Deflection of Beam and Cantilever 3 steel beams with different cross-sections. 3 brass beams with different cross-sections. 3 aluminum beams with different cross-sections. 3 MS beams with different cross-sections. 1 coper beam. 3 articulated, height-adjustable supports with force gauge range 100N Force gauges can be zeroed, peck and 3 dial gauges to record deformations with three dial gauge supports, dial gauge 0-20mm, least count 0.01mm. 4 sets of weights with adjustable riders. Anodisedaluminium section frame housing the experiment. Technical Data Weights 4x 0.5N (hangers) 8x 0.5N 8x 1N 8x 2N 8x 5N Beams Stainless steel: 19x3mm; 19x5mm; 19x6mm Brass: 19x3mm; 19x5mm; 19x6mm Aluminum: 19x3mm; 19x5mm; 19x6mm Mild steel: 19x3mm; 19x5mm; 19x6mm Copper: 19x3mm; 19x5mm; 19x6mm Tensile Test Set Specifications: Maximum load of 20 kN. Extensometer for Young’s modulus tests Torsion of Rod and Tube Test rod material: mildgear steel, aluminium, brass. Test rod holder: 19mm AF hex socket. Test torque measurement using strain gauge measuring shaft. Brass (round) Length: 390mmx1, Diameter: 10mm Length: 690mmx1, Diameter: 10mm Steel (round) Length: 390mmx7, Diameter: 5mm, 6mm, 7mm, 8mm, 10mm, 11mm, 12mm Origin USA/Europe/ China/Pak | 01 |
| 02 | Thin Cylinder Apparatus with Compatible Computer Aluminum cylinder Length: 400mm Outer diameter: d=50-100mm Inner diameter: d=50-1000mm Wall thickness: 2mm Internal pressure: max. 2-5N/mm² Strain gauge application 5 strain gauges: half-bridges Angle to vessel axis: 0°, 30°, 45°, 60°, 90° Gauge factor: 2.00 +/-1% Circular Diaphramdisk Outer diameter: Ø 230mm Diameter used in the experiment: Ø 200mm Thickness: 3mm Strain gauge application 8 strain gauges: half-bridges, 350 Ohm Gauge factor: 2.00 ±1% Dial gauge 0…20mm Graduation: 0.01mm Manometer 0…1bar Accuracy: class 1.0 System pressure Max. 0.6bar Static and Dynamic Balancing Machine With Computer Interface Digital speed display Speed range: 0 ... 1400rpm Number of unbalance weights: 4 Max. Additional masses: Weight 37-18.5g Eccentricity: 30mm Unbalance (big/small): 110/55cm Simple Suspension Bridge Suspension bridge Span: approx. 400-500mm Supporting cable sag: approx. 70-80mm Number of supporting cables: 2 Shackles: 10-15, graduated lengths Dead-weight of roadway: 987g Support force measuring range: 0~100N Force Table Table for a) Triangle of forces for three or more than three concurrent coplanar forces. b) Polygon of forces for more than three concurrent coplanar forces. c) Link polygon for three or more non-concurrent coplanar forces. Weights: 10x 0.1N 2x 0.5N 2x 1N 2x 2N 2x 5N Beam Apparatus Beam length: 1000mm to 1200mm Beam width: 6mm to 8mm Beam height: 20mm to 25mm Hole specing: 25mm to 30mm Beam weight: 8.12N 1 measuring scale: 1000mm Least count: 1mm 2 spring balance: 10kg each; least count 50g Boyle’s Law apparatus and Impact Testing Transparent measuring vessel 2 for investigation of isochoric change of state. Electrical heater with temperature control in vessel 2 Sensors for temperatures and pressures. Pump Power output:60W Delivery side: 2bar Intake side: 213mbar Temperature measuring range Vessel 1: -100~400°C Vessel 2: -100~400° Impact Testing Apparatus. Material testing table-top experiment for performing the notched bar impact bending test. Quality testing and evaluation of the fracture behavior of metallic materials. Pendulum impact testing machine according to Specimens: Specimen cross-section: 10x10mm. ii. Specimen cross-section at notch: 10x5 and 10x8mm. Hammer impact speed: 3.8m/s. Impact speed of the hammer: 3.8m/s Specimen bearing separation: 40mm Specimen cross-section: 10x10mm Cross-section at the notch: 10x8 and 10x5mm. Origin USA/UK/ ITALY/China/Pak | 01 |
| 03 | Basic Electricity Trainers including accessories. Bread Board Based Power Supplies Included Basic Measuring Instruments Included Flexibility to Perform Custom Experiments Passive Components Included in Modular Form Active Components/Circuits Included DC Motor, Coils and Transformers etc. Included Standard Function Generator Included Protection Circuits Included. Function Generator: Duty cycle: 50% Frequency range: up to 100KHz in five steps Output: Sine, Square, Triangle and TTL Variable Frequency Control Variable Gain Control Magnetic Devices: Hall Sensor Potentiometer: 2.2K & 1K Galvanometer: Analog Scale. Origin USA/UK/ ITALY/China/Pak | 04 |

G. Survey Lab

| 1 | Aerial Mapping System (RTK Drone + Software’s) RTK and Drone along with all accessories Dimensions Unfolded, propellers excluded, 810×670×430 mm (L×W×H) Folded, propellers included, 430×420×430 mm (L×W×H) Diagonal Wheelbase 895 mm Weight (with single downward gimbals) Approx. 3.6 kg (without batteries) Approx. 6.3 kg (with two TB60 Approx. 3.6 kg (without batteries) Approx. 6.3 kg (with two TB60 batteries) Single Gimbals Damper’s Max Payload 930g Max Takeoff Weight 9 kg Operating Frequency 2.4000-2.4835 GHz 5.725-5.850 GHz EIRP 2.4000-2.4835 GHz: 29.5 dBm (FCC); 18.5dBm (CE) 18.5 dBm (SRRC); 18.5dBm (MIC) 5.725-5.850 GHz: 28.5 dBm (FCC); 12.5dBm (CE) 28.5 dBm (SRRC) Hovering Accuracy (P-mode with GPS) Vertical: ±0.1 m (Vision System enabled) ±0.5 m (GPS enabled) ±0.1 m (RTK enabled) Horizontal: ±0.3 m (Vision System enabled) ±1.5 m (GPS enabled) ±0.1 m (RTK enabled) RTK Positioning Accuracy When RTK enabled and fixed: 1 cm+1 ppm (Horizontal) 1.5 cm + 1 ppm (Vertical) Max Angular Velocity Pitch: 300°/s, Yaw: 100°/s Max Pitch Angle 30° (P-mode, Forward Vision System enabled: 25°) Max Ascent Speed S mode: 6 m/s P mode：5 m/s Max Descent Speed (vertical) Remote Controller Operating Frequency 2.4000-2.4835 GHz 5.725-5.850 GHz Max Transmitting Distance (unobstructed, free of interference) NCC/FCC: 15 km CE/MIC: 8 km SRRC: 8 km EIRP 2.4000-2.4835 GHz: 29.5 dBm (FCC) 18.5dBm (CE) 18.5 dBm (SRRC); 18.5dBm (MIC) 5.725-5.850 GHz: 28.5 dBm (FCC); 12.5dBm (CE) 20.5 dBm (SRRC) External battery Name: WB37 Intelligent Battery Capacity: 4920 mAh Voltage: 7.6V Type: LiPo Energy: 37.39Wh Origin. Italy/UK/USA/China | 2 |
| --- | --- | --- |
| 2 | Binoculars Magnification:20X Objective:50mm to 55mm Eyepiece Diameter:26mm to 30mm Field of View:125m-1000m Features:20×50 binoculars Origin. Japan/USA or European Countries | 01 |
| 3 | Plani Meter digital Origin: USA, UK, China, Pakistan | 01 |

Engr. Naeem Abbas

HOD Mining Engineering

Email: naeem.abbas@kiu.edu.pk