| Department of Electrical Engineering Technology |
| --- |
| Karakoram International University, Gilgit-Baltistan |
| Electronics Lab |
|  | BOQ |  |  |  |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Diode (silicon, Germanium) 1A, 5A | 500 |  |  |
| 2 | Variable DC Power Supply Specifications: | 9 |  |  |
|  | Output voltage: 12V |  |  |  |
|  | Output current: 10A |  |  |  |
|  | Output Power: 300W |  |  |  |
| 3 | Digital Multimeters (Digital Multimeter Voltage Current Temperature Capacitance and Temperature Meter), | 10 |  |  |
|  | Specifications and Range: |  |  |  |
|  | DC voltage (V) 1000V |  |  |  |
|  | AC voltage (V) 1000V |  |  |  |
|  | DC current (A) 10A |  |  |  |
|  | AC current (A) 10A |  |  |  |
|  | Resistance (Ω) 40MΩ |  |  |  |
|  | Capacitance (F) 40mF |  |  |  |
|  | Frequency (Hz) 400Hz~40mHz |  |  |  |
|  | Temperature (°C) -40~1000℃ |  |  |  |
|  | Temperature (℉) -40~1832℉ |  |  |  |
| 4 | Resistors 1/4W (1Ω,220Ω,330Ω,470Ω,1kΩ 10kΩ ,470kΩ, 1MΩ), 1W (1Ω, 10Ω, 50Ω, 100Ω). | 1000 |  |  |
| 5 | Connecting wires (banana jack plug leads red and black pairs) | 202 |  |  |
| 6 | Zener diode (5V, 12V,15V) | 500 |  |  |
| 7 | Oscilloscope (100MHz) | 5 |  |  |
|  | channels >= 2; |  |  |  |
|  | sampling >= 1GS/s; |  |  |  |
|  | storage = setup, bitmap, wave |  |  |  |
|  | power input = 220VAC, 50Hz |  |  |  |
|  | interface = usbotg |  |  |  |
|  | standard accessories = Probe×2 (1×,10× switchable), Power Cord, USB Cable, PC Software CD |  |  |  |
| 8 | Capacitors (electrolytic, 10uF, 47uF,100uF, 1000uF) voltage ratings, 10V, 25V, 50V | 500 |  |  |
| 9 | Dual Channel Function Generator (25MHz), | 5 |  |  |
|  | SPECIFICATIONS: |  |  |  |
|  | Sine Wave - 1µHz – 25MHz |  |  |  |
|  | Square Wave - 1µHz – 25MHz |  |  |  |
|  | Pulse - 500µHz – 5MHZ |  |  |  |
|  | Ramp – 1µHz – 300KHz |  |  |  |
|  | Gaussian White Noise – 25MHz bandwidth (-3db) |  |  |  |
|  | Arbitrary Wave - 1µHz – 5Mhz |  |  |  |
|  | Maximum output frequency: 25MHz |  |  |  |
|  | Output channels: 2 |  |  |  |
|  | Sampling rate: 125 MSa/s |  |  |  |
|  | Wave length: 16 kpts |  |  |  |
|  | Frequency resolution: 1 μHz |  |  |  |
|  | Vertical resolution: 14 bits |  |  |  |
|  | Waveform: Sine, Square, Ramp, Pulse, Gaussian white noise, 48 types of built-in arbitrary waveforms. |  |  |  |
|  | Modulation function: AM, FM, PM, DSB-AM, FSK, ASK, PWM, Sweep, Burst |  |  |  |
|  | Frequency counter: 100 mHz ~ 200 MHz |  |  |  |
|  | Standard configuration: USB Host & Device |  |  |  |
|  | Optional port: USB-GPIB adapter |  |  |  |
|  | Size: 229mm×105mm×281mm |  |  |  |
| 10 | Power resistors (5W, 10W,50W) | 500 |  |  |
| 11 | Bipolar Junction Transistor (NPN, bc547,2n2222) | 500 |  |  |
| 12 | JFET n-channel irfz24n | 100 |  |  |
| 13 | Operational amplifier IC (LM741). | 500 |  |  |
| 14 | LED Green + Red | 500 |  |  |
| 15 | Printer + scanner | 1 |  |  |
| Electrical Circuit Analysis Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Dual Channel Function Generator (25MHz), SPECIFICATIONS: | 5 |  |  |
|  | Sine Wave - 1µHz – 25MHz |  |  |  |
|  | Square Wave - 1µHz – 25MHz |  |  |  |
|  | Pulse - 500µHz – 5MHZ |  |  |  |
|  | Ramp – 1µHz – 300KHz |  |  |  |
|  | Gaussian White Noise – 25MHz bandwidth (-3db) |  |  |  |
|  | Arbitrary Wave - 1µHz – 5Mhz |  |  |  |
|  | Maximum output frequency: 25MHz |  |  |  |
|  | Output channels: 2 |  |  |  |
|  | Sampling rate: 125 MSa/s |  |  |  |
|  | Wave length: 16 kpts |  |  |  |
|  | Frequency resolution: 1 μHz |  |  |  |
|  | Vertical resolution: 14 bits |  |  |  |
|  | Waveform: Sine, Square, Ramp, Pulse, Gaussian white noise, 48 types of built-in arbitrary waveforms. |  |  |  |
|  | Modulation function: AM, FM, PM, DSB-AM, FSK, ASK, PWM, Sweep, Burst |  |  |  |
|  | Frequency counter: 100 mHz ~ 200 MHz |  |  |  |
|  | Standard configuration: USB Host & Device |  |  |  |
|  | Optional port: USB-GPIB adapter |  |  |  |
|  | Size: 229mm×105mm×281mm |  |  |  |
| 2 | Oscilloscope (100 MHz) | 5 |  |  |
|  | channels >= 2; |  |  |  |
|  | sampling >= 1GS/s; |  |  |  |
|  | storage = setup, bitmap, wave |  |  |  |
|  | power input = 220VAC, 50Hz |  |  |  |
|  | interface = usbotg |  |  |  |
|  | standard accessories = Probe×2 (1×,10× switchable), Power Cord, USB Cable, PC Software CD |  |  |  |
| 3 | Digital Multimeters (Digital Multimeter Voltage Current Temperature Capacitance and Temperature Meter), | 10 |  |  |
|  | Specifications and Range: |  |  |  |
|  | DC voltage (V) 1000V |  |  |  |
|  | AC voltage (V) 1000V |  |  |  |
|  | DC current (A) 10A |  |  |  |
|  | AC current (A) 10A |  |  |  |
|  | Resistance (Ω) 40MΩ |  |  |  |
|  | Capacitance (F) 40mF |  |  |  |
|  | Frequency (Hz) 400Hz~40mHz |  |  |  |
|  | Temperature (°C) -40~1000℃ |  |  |  |
|  | Temperature (℉) -40~1832℉ |  |  |  |
| 4 | Electric circuit analysis trainer | 5 |  |  |
|  | Specifications and features: |  |  |  |
|  | Modular panel and rack/frame system facilitating alternate module locations and allowing for system expansion in the future |  |  |  |
|  | Each component panel assembly must include: a 1/8" aluminum panel face; epoxy silk-screened component nomenclature and symbols; riveted, 16-gauge, formed-steel enclosures; powder coating and instructor fault switches |  |  |  |
|  | Provision for mounting of system on standard DAC mounting structures, or any standard 19" rack system |  |  |  |
|  | On-board circuit breaker, internal power supply, and transformer, creating working voltages of 24VAC center tapped, or 24VDC |  |  |  |
|  | Dimensions (Minimum): |  |  |  |
|  | (L x W x H) |  |  |  |
|  | 18 1/8in. x 14in. x 17 1/2in. (460 x 355 x 444 mm) |  |  |  |
|  | UTILITIES: 110/220 VAC, 50/60 Hz |  |  |  |
|  | Accessories: |  |  |  |
|  | Loose component kit including: (2) bar magnets, (1) component storage box, (1) magnetic reed switch, (1) nail, (1) spool of bell wire, (1) sealed box of iron filings, (1) D cell holder, (1) compass, (1) 6" acrylic rod, (1) rubbing cloth, (1) 6" wood dowel, (1) solderless breadboard (2" x 3"), (2) NPN transistors, (2) PNP Transistors, and (10) assorted resistors |  |  |  |
|  | Banana plug patch cords |  |  |  |
|  | Use/Activity Guide |  |  |  |
| 5 | Resistors ¼ W (1Ω, 10Ω, 100Ω, 220Ω, 330Ω, 470Ω, 1000Ω, 3.3kΩ ,10kΩ, 33kΩ ,100kΩ ,1MΩ) | 500 |  |  |
| 6 | Inductors (2.2uH,5uH,100uH, 220uH, 330uH, 470uH, 1mH, 4.7mH) | 500 |  |  |
| 7 | Capacitors (electrolytic, 10uF, 22uF, 47uF, 100uF, 1000uF) voltage ratings: 10V, 25V, 50V | 500 |  |  |
| 8 | THREE PHASE BENCH POWER SUPPLY Specifications: Power Requirement: 240 / 415 VAC, 5Amp Single phase 50Hz | 5 |  |  |
|  | Connection: 3P+N+PE TECHNICAL SPECIFICATION: Three Phase AC Adjustable Output (0-240 / 415VAC; 1A |  |  |  |
|  | With On / Off Switch, Overload Protection with Voltmeter and Ammeter Indicated) ACCESSORIES |  |  |  |
|  | Operation Manual |  |  |  |
|  | 1.5 M length input Cable and 3 pin plug. |  |  |  |
|  | Dimensions: Approx. 470L x 360H x 250D |  |  |  |
| 9 | Three phase ac industrial connector (3 phase 4 wire) | 6 |  |  |
| 10 | Connecting wires flexible cable 20A AC current (banana connector) | 2 |  |  |
| 11 | JFET n-channel (irfz44n) | 100 |  |  |
| 12 | Operational amplifier IC (LM741). | 100 |  |  |
| 13 | Stopwatch (Minimum 1 second) | 10 |  |  |
| 14 | Breadboard (GL-12 830 Points) | 10 |  |  |
| 15 | Inductors (100uH, 50uH, 200uH) toroidal core | 500 |  |  |
| 16 | LED Green and Red | 370 |  |  |
| Applied Physics Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Capacitors (100uF, 220uF,1000uF) | 50 |  |  |
| 2 | 9-volt battery (6F22) + battery snap connector | 20 |  |  |
| 3 | Capacitance meter (200pF/2nF/20nF/200nF/2uF/20uF/200uF/2mF/20mF) | 10 |  |  |
| 4 | Connecting wires (leads) banana connectors | 10 |  |  |
| 5 | Ballistics galvanometer | 7 |  |  |
|  | Specifications: |  |  |  |
|  | Resistance 100 Ω |  |  |  |
|  | Time Period 12sec |  |  |  |
|  | Charge Sensitivity 300mm/µC |  |  |  |
|  | Current Sensitivity 1000mm/µA |  |  |  |
|  | Critical Damping Resistance 2000 Ω |  |  |  |
| 6 | Simple pendulum consists of a brass bob of 1” diameter suspended by a flexible and weightless stitching thread the 2nd end of thread is tied to the rigid support. Supplied with heavy metallic base along with rod & special clamp | 5 |  |  |
| 7 | A standard capacitor 100uF 50v | 50 |  |  |
| 8 | A stopwatch (least count 1 sec) | 10 |  |  |
| 9 | Keys for changing resistance on resistance box | 20 |  |  |
| 10 | Resistance box (1Ω, 10Ω, 100Ω, 220Ω, 330Ω, 1000Ω, 10000Ω) | 100 |  |  |
| 11 | Wooden box with moving lamp inside the box, photocell at one end of the box and with ammeter | 10 |  |  |
| 12 | Potentiometer | 10 |  |  |
|  | 530 ohm and 50 ohms |  |  |  |
|  | Electrical Slide Rheostat Variable Resistance |  |  |  |
|  | material: plastic, metal, porcelain |  |  |  |
| 13 | Variable DC Power Supply | 10 |  |  |
|  | Specifications: |  |  |  |
|  | Output voltage: 12V |  |  |  |
|  | Output current: 10A |  |  |  |
|  | Output Power: 300W |  |  |  |
| 14 | Standard resistance box, ±0.2% (Variable Decade Resistor 0-9999.9 Ohm) | 10 |  |  |
| 16 | Beaker (1000ml) | 3 |  |  |
| 17 | Thermometer digital NTC (-150 to 100 °C) +-1°C | 10 |  |  |
| 18 | Hotplate | 1 |  |  |
|  | medium size (250 * 250 mm, 250 * 500 mm, 300 * 300 mm, 115 * 600 mm) |  |  |  |
|  | working temperature up to 400°C |  |  |  |
|  | digital temperature control |  |  |  |
|  | overheating protection |  |  |  |
|  | temperature display |  |  |  |
| 19 | 5 leads banana connector 1m | 5 |  |  |
| 20 | Universal Circuit Board | 10 |  |  |
|  | 9cm x 15 cm Double Sided FR4 Fiber Glass Dotted Veroboard |  |  |  |
| 22 | 150 Ohm Resistor 1/4W | 100 |  |  |
| 23 | 330 Ohm Resistor 1/4W | 100 |  |  |
| 24 | 550 Ohm Resistor ¼ W | 100 |  |  |
| 25 | Miniature Light Bulb and Socket | 10 |  |  |
|  | 100W filament bulb with 1m cable and plug/socket pair |  |  |  |
| 26 | Jumper for breadboard | 10 |  |  |
| 27 | Wire Leads with alligator clips 1m | 100 |  |  |
| 28 | DC circuit trainer | 10 |  |  |
|  | Requires 220VAC to operate, outputs 2-14VDC (4A max) |  |  |  |
|  | • Panel mounted Digital Readout showing trainer DC voltage |  |  |  |
|  | • Hinged and removable top cover |  |  |  |
|  | • Built in DMM (Digital Multi-meter) display with accessible |  |  |  |
|  | external meter fuse |  |  |  |
|  | • Meter is powered by the trainer’s power supply. (No batteries) |  |  |  |
|  | • Adjustable 2KHz pulse width modulation generator (0-100%) |  |  |  |
|  | The following electrical components are included: |  |  |  |
|  | Qty - component |  |  |  |
|  | 2- #194 Light bulbs (removable) |  |  |  |
|  | 1- #3157 Light bulb (removable) |  |  |  |
|  | 1- #2726 LED bulb (removable) |  |  |  |
|  | 1- Buzzer |  |  |  |
|  | 2- Transistors (NPN and PNP) |  |  |  |
|  | 1- Diode |  |  |  |
|  | 1- Motor |  |  |  |
|  | 1- ISO 5-pin relay |  |  |  |
|  | 1- Electronic flasher |  |  |  |
|  | 1- 75Ω Potentiometer |  |  |  |
|  | 5- Resistors (1-2Ω, 2-20Ω, 1-40Ω, 1-100Ω) |  |  |  |
|  | 1- Fuse (removable) |  |  |  |
|  | 1- SPST Toggle switch |  |  |  |
|  | 1- N.O. Push button switch |  |  |  |
| 32 | Digital Multimeters (Digital Multimeter Voltage Current Temperature Capacitance and Temperature Meter), | 10 |  |  |
|  | Specifications and Range: |  |  |  |
|  | DC voltage (V) 1000V |  |  |  |
|  | AC voltage (V) 1000V |  |  |  |
|  | DC current (A) 10A |  |  |  |
|  | AC current (A) 10A |  |  |  |
|  | Resistance (Ω) 40MΩ |  |  |  |
|  | Capacitance (F) 40mF |  |  |  |
|  | Frequency (Hz) 400Hz~40mHz |  |  |  |
|  | Temperature (°C) -40~1000℃ |  |  |  |
|  | Temperature (℉) -40~1832℉ |  |  |  |
|  | Each component has circuit connection receptacles for jumper |  |  |  |
|  | wire hookup |  |  |  |
|  | • Included are test jumper wires, power cord and meter test leads |  |  |  |
|  | • Includes a comprehensive user’s manual with student activity assignments which cover basic electricity, Ohm’s Law |  |  |  |
|  | principles, digital |  |  |  |
|  | • multi-meter set-up, use and interpretation, electrical component |  |  |  |
|  | operation, and DC circuit construction and operation. Additional manuals available at no charge after trainer purchase |  |  |  |
|  | at www.consulab.com |  |  |  |
|  | • Manual contains competence measuring tests to evaluate |  |  |  |
|  | student comprehension. |  |  |  |
| 33 | 1500 (17 AWG copper enamel wire 1 pound) | 1 |  |  |
| 34 | Two core cables (10A) | 1 |  |  |
| 35 | Ruler 12 inches | 10 |  |  |
| 36 | Bar magnets (colored blue and red on opposite poles) | 10 |  |  |
| 37 | Insulated copper wire | 1 |  |  |
|  | length = 10m, |  |  |  |
|  | flexible |  |  |  |
|  | AWG 3 |  |  |  |
| 38 | Empty Cardboard paper towel roll | 25 |  |  |
| 49 | Step Up Transformer 12VAC /220VAC (1A) | 10 |  |  |
| 40 | Step-Down Transformer 220VAC/12VAC (1A) | 10 |  |  |
| Electrical Machines Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Industrial transformer trainer | 2 |  |  |
| 2 | Digital Multimeters (Digital Multimeter Voltage Current Temperature Capacitance and Temperature Meter), | 8 |  |  |
|  | Specifications and Range: |  |  |  |
|  | DC voltage (V) 1000V |  |  |  |
|  | AC voltage (V) 1000V |  |  |  |
|  | DC current (A) 10A |  |  |  |
|  | AC current (A) 10A |  |  |  |
|  | Resistance (Ω) 40MΩ |  |  |  |
|  | Capacitance (F) 40mF |  |  |  |
|  | Frequency (Hz) 400Hz~40mHz |  |  |  |
|  | Temperature (°C) -40~1000℃ |  |  |  |
|  | Temperature (℉) -40~1832℉ |  |  |  |
| 3 | Digital Clamp meter Function, Range and Accuracy | 8 |  |  |
|  | DC Current 600 A ±(2%+5) |  |  |  |
|  | AC Current 600 A ±(2%+5) |  |  |  |
|  | DC Voltage 600 V ±(0.5%+2) |  |  |  |
|  | AC Voltage 600 V ±(0.8%+5) |  |  |  |
|  | AC voltage frequency 10 Hz~60 kHz ±(0.5%+2) |  |  |  |
|  | Resistance 40 Ω |  |  |  |
|  | 6 kΩ ~ 600 kΩ |  |  |  |
|  | 60 MΩ ±(1.0%+2) |  |  |  |
|  | ±(0.8%+2) |  |  |  |
|  | ±(2.5%+5) |  |  |  |
|  | Capacitance 60 nF ~ 600 µF |  |  |  |
|  | 60 mF ±(4%+5) |  |  |  |
|  | ±(10%) |  |  |  |
|  | Temperature -40°C~1000°C ±(1.5%+5) |  |  |  |
|  | Frequency 10 Hz~10 MHz ±(0.1%+4) |  |  |  |
| 4 | Electrical Slide Rheostat Resistance 1.5A 50Ω | 9 |  |  |
| 5 | Connecting wires for trainers (flexible with male banana connectors on both sides) | 20 |  |  |
| 6 | Watt meter | 5 |  |  |
|  | Voltage (V) (10V~1000V, AC/DC, ±0.5%Udin) |  |  |  |
|  | AC current (A) (upto 1000A, ±0.5%f.s.) |  |  |  |
|  | Frequency (Hz) (40~70Hz ±50mHz) |  |  |  |
|  | Power (W) (>15%S ±1%S) |  |  |  |
|  | Power factor (0~1 ±0.02) |  |  |  |
|  | Energy (Wh) (0~9999MWh ±1.5%rdg) |  |  |  |
|  | Crest factor (1 to 10 ±5%) |  |  |  |
|  | Features |  |  |  |
|  | True RMS (Yes) |  |  |  |
|  | Harmonic analysis (Up to 51th Yes) |  |  |  |
|  | Flick measure (10 minutes, PST and PLT values Yes) |  |  |  |
|  | Voltage ratio Yes |  |  |  |
|  | Current ratio Yes |  |  |  |
|  | Event capture Yes |  |  |  |
|  | Trend capture Yes |  |  |  |
|  | Data logging 8GB Yes |  |  |  |
|  | USB interface Yes |  |  |  |
|  | Backlight adjustment Yes |  |  |  |
|  | Low battery indication Yes |  |  |  |
|  | Input protection Yes |  |  |  |
|  | power |  |  |  |
|  | input 220VAC 50Hz |  |  |  |
|  | battery backup supported |  |  |  |
| 7 | Three-phase industrial transformer trainer | 5 |  |  |
|  | Specifications: |  |  |  |
|  | 3 Phase Power Supply |  |  |  |
|  | 4 Pole MCB of 415V, 4A |  |  |  |
|  | 3 Phase Power Indication with R-Y-B Indicator |  |  |  |
|  | Inbuilt Contactor 230V,50Hz/11VA Coil |  |  |  |
|  | Emergency Stop to Emergency Break |  |  |  |
|  | R-Y-B-N Distribution Line (2 Points) |  |  |  |
|  | Digital Meter for Primary |  |  |  |
|  | AC Voltmeter (0-450V) |  |  |  |
|  | AC Ammeter (0-10A) |  |  |  |
|  | AC Ammeter (0-10A) 2Nos. |  |  |  |
|  | 3 Phase Transformer Circuit: |  |  |  |
|  | Consist of Circuit Diagram for Primary |  |  |  |
|  | 3 Phase Power Indication with R-Y-B Indicator for Primary Input |  |  |  |
|  | Consist of Circuit Diagram for Secondary |  |  |  |
|  | 3 Phase Power Indication with R-Y-B Indicator for Secondary Output |  |  |  |
|  | Digital Meter for Secondary |  |  |  |
|  | AC Voltmeter (0-450V) |  |  |  |
|  | AC Ammeter (0-10A) |  |  |  |
|  | AC Ammeter (0-10A) 2Nos |  |  |  |
|  | Three Phase Resistive Lamp Load (Star Connected) 2Nos. |  |  |  |
|  | 6 Nos. Lamp with Switch Control |  |  |  |
|  | Output Termination with Terminals in R-Y-B |  |  |  |
| 8 | Oscilloscope (4channel), | 5 |  |  |
|  | Specifications: |  |  |  |
|  | Bandwidth: 100MHz |  |  |  |
|  | Channels: 4 |  |  |  |
|  | Sample rate: 1GSa per second |  |  |  |
|  | Memory depth: 28Mpts (per channel), 56Mpts (when using 1 channel) |  |  |  |
|  | Waveform capture rate: 80,000wfms per second |  |  |  |
|  | Trigger types: Edge, Pulse, Slope, Video, Run, Window, N-edge, Delay, Timeout, Duration, Setup/Hold, Code |  |  |  |
|  | Vertical scale: 1mV/div - 20V/div |  |  |  |
|  | Horizontal scale: 5ns/div - 50s/div |  |  |  |
|  | Connectivity: USB Host, USB Device, LAN, AUX Out (Trig Out, Pass/Fail) |  |  |  |
|  | Decode capabilities: RS-232/UART, I²C, SPI |  |  |  |
|  | Display: 8" 800x480 TFT LCD, WVGA (800 x 480) |  |  |  |
|  | Weight: 3.5kg |  |  |  |
|  | Dimensions: 336 x 164 x 108mm |  |  |  |
| 9 | Current probes for oscilloscope | 10 |  |  |
|  | 10 Hz-2MHz Bandwidth |  |  |  |
|  | Measurement 1mA to 1200A AC |  |  |  |
|  | Low phase shift |  |  |  |
|  | Diameter: φ52mm |  |  |  |
|  | EN 61010, 600V CAT III |  |  |  |
|  | High precision 0.1% |  |  |  |
| 10 | Voltage differential probes for oscilloscope | 10 |  |  |
|  | 50x/500x |  |  |  |
|  | Bandwidth DC to 100 MHz (–3 dB) |  |  |  |
|  | Attenuation ranges 10:1 / 100:1 |  |  |  |
|  | DC accuracy ±2% |  |  |  |
|  | Rise time 14 ns |  |  |  |
|  | Input impedance 4 MΩ ∥ 5.5 pF each side to ground |  |  |  |
| 11 | Synchronous machine trainer | 10 |  |  |
|  | Specification: |  |  |  |
|  | Control Board Power: 3ǫ AC |  |  |  |
|  | DC Voltage Meter: 2 |  |  |  |
|  | DC Ampere Meter: 2 |  |  |  |
|  | AC Voltage Meter: 2 |  |  |  |
|  | AC Ampere Meter: 2 |  |  |  |
|  | Frequency Meter: 2 |  |  |  |
|  | Synchronous Indicator: 1 |  |  |  |
|  | MCCB: 4 |  |  |  |
|  | Power Lamp: 1 |  |  |  |
|  | Excitation Power: 1 Set |  |  |  |
|  | Speed Detector: 1 Set |  |  |  |
|  | Condenser Type Element: 3 |  |  |  |
|  | Digital Speed Meter: 1 |  |  |  |
|  | Electric Machine Assembly: 1 Set |  |  |  |
|  | Style: Steel, Portable Type |  |  |  |
|  | Dimension: 800(W) x 430(D) x 560(H)mm |  |  |  |
|  | Electrical Machine: |  |  |  |
|  | Synchronous Motor: 1 Set |  |  |  |
|  | Voltage: 3ǫ AC |  |  |  |
|  | Excitation Voltage: DC 45V |  |  |  |
|  | Number of Pole: 4 Poles |  |  |  |
|  | Output: 360Watt (1/2 HP) |  |  |  |
|  | Field: Revolving- Field Type |  |  |  |
|  | Style: Semi-enclosed Type |  |  |  |
|  | Synchronous Generator: 1 Set |  |  |  |
|  | Voltage: 3ǫAC |  |  |  |
|  | Excitation Voltage: DC 45V |  |  |  |
|  | Number of Pole: 4 Poles |  |  |  |
|  | Output: 360Watt (1/2 HP) |  |  |  |
|  | Field: Revolving- Field Type |  |  |  |
|  | Style: Semi-enclosed Type |  |  |  |
| 12 | 3 Phase AC Slip Ring Induction Motor Trainer | 9 |  |  |
|  | 3 Phase AC Integrated Motor Specification: |  |  |  |
|  | Voltage: 415 V AC, 50 Hz |  |  |  |
|  | Capacity: 300 W / 4 pole / 1500 RPM |  |  |  |
|  | Rotor construction: Star connected, 4 terminals including star point brought out on 4 slip rings mounted on shaft |  |  |  |
|  | Stator construction: 6 terminals are brought out to start the machine using star-delta starter |  |  |  |
|  | Frame / mounting: 100 frames, chassis mounted |  |  |  |
|  | Loading arrangement: Friction brake pulley for loading arrangement with 20 Kg spring balance for torque measurement |  |  |  |
|  | Speed Measurement: Using hand held tachometer |  |  |  |
|  | Control Panel Specifications: |  |  |  |
|  | Aluminum profile modular flat table top demo panel carrying various high voltage components housed in plastic enclosures to minimize shock possibility |  |  |  |
|  | Input 3 Phase DOL Starter Panel |  |  |  |
|  | Integrated AC 3 Phase Multifunction Measurement Panel |  |  |  |
|  | FWD-OFF-REV Switch Panel |  |  |  |
|  | 3 Phase Wound Rotor and Synchronous Motor Panel |  |  |  |
|  | DC Voltmeter and DC Ammeter Panel |  |  |  |
|  | SCR Actuator (variable DC) cum sensor signal conditioning panel |  |  |  |
|  | Instrumentation Power Supply cum Multichannel DPM Panel |  |  |  |
|  | Hand Held Tachometer |  |  |  |
| 13 | Eddy current brake | 3 |  |  |
|  | Type Air Cooled Eddy Current Brake |  |  |  |
|  | Voltage 440V |  |  |  |
|  | Finish Paint Coated |  |  |  |
|  | Speed 500 RPM |  |  |  |
| 14 | Induction motor | 3 |  |  |
|  | HP 0.5, KW 0.37, V 200~220, Phase 1, A 3.5, RPM 1500, Hz 50 |  |  |  |
| 15 | Mimic panel | 3 |  |  |
| 16 | Three phase induction motor | 3 |  |  |
|  | HP 1, KW 0.72, V 400~440, Phase 3, A~ 2, RPM 1500, Hz 50 |  |  |  |
| 17 | DC machine trainer | 10 |  |  |
|  | should support following Characteristics and working principles of a DC Series motor |  |  |  |
|  | • Characteristics and working principles of a DC Shunt motor |  |  |  |
|  | • Characteristics and working principles of a DC Compound motor |  |  |  |
|  | • Characteristics and working principles of a DC Separately Excited motor |  |  |  |
|  | • Implementing correct wiring connections for DC motors electrical motor operation |  |  |  |
|  | • Measuring the voltage/current of electrical motor set |  |  |  |
|  | • Start/Stop motor control |  |  |  |
|  | • Motor speed measurement and testing |  |  |  |
|  | • Troubleshooting techniques and approach |  |  |  |
|  | DC SERIES MOTOR |  |  |  |
|  | • Input Voltage:220VDC |  |  |  |
|  | • Speed: approx. 3000 rpm |  |  |  |
|  | • Power: approx. 185W |  |  |  |
|  | • Connection: 4 x 4mm colored safety sockets |  |  |  |
|  | DC SHUNT MOTOR |  |  |  |
|  | • Input voltage:220VDC |  |  |  |
|  | • Speed: approx. 1600 rpm |  |  |  |
|  | • Power: approx. 250W |  |  |  |
|  | • Connection: 4 x 4mm colored safety sockets |  |  |  |
|  | DC SEPARATELY EXCITED MOTOR |  |  |  |
|  | • Input voltage: 220VDC |  |  |  |
|  | • speed: approx. 1600 RPM |  |  |  |
|  | • Power: approx. 180W |  |  |  |
|  | • Connection: 4 x 4mm safety sockets |  |  |  |
|  | THREE PHASE SYNCHRONOUS MOTOR |  |  |  |
|  | • Operating Voltage: |  |  |  |
|  | Star(415VAC), Delta(240VAC) |  |  |  |
|  | • Speed: approx. 1500 rpm |  |  |  |
|  | • Power: Motor 90W, Generator |  |  |  |
|  | 170W |  |  |  |
|  | • Connection: 8 x 4mm safety |  |  |  |
|  | sockets |  |  |  |
|  | SWITCH MODULE |  |  |  |
|  | • 2 x Push Button (NO) |  |  |  |
|  | • 2 x Push Button (NC) |  |  |  |
|  | • 1 x Emergency Button (NC) |  |  |  |
|  | • 1 x Toggle Switch (2 pole) |  |  |  |
|  | • 1 x Selector Switch (3 Pole) |  |  |  |
|  | VARIABLE SINGLE-PHASE AC/DC POWER SUPPLY UNIT |  |  |  |
|  | • Input voltage: 240VAC 50Hz |  |  |  |
|  | • Adjustable output: O 240VAC or O 220VDC (3A max) |  |  |  |
|  | • Fixed output: 220VDC (IA max) |  |  |  |
|  | • ON/OFF Main Switch |  |  |  |
|  | • Resettable fuse protection (SA) |  |  |  |
|  | • Pilot lamp indicator |  |  |  |
|  | • Digital indicator for AC voltage and DC voltage |  |  |  |
|  | • Connection: 7 x 4mm colored safety sockets |  |  |  |
|  | LAMP MODULE |  |  |  |
|  | • 2 x Pilot Lamp (240V), Red |  |  |  |
|  | • 2 x Pilot Lamp (240V), Green |  |  |  |
|  | • I x Lamp bulb with socket |  |  |  |
|  | • Connection: 4mm safety sockets |  |  |  |
|  | DC MEASUREMENT UNIT |  |  |  |
|  | • Input voltage: 240VAC 50Hz |  |  |  |
|  | • 2 x DC Voltmeter |  |  |  |
|  | • Measurement range: DC 500V |  |  |  |
|  | • Panel Size: 78mm x 42mm |  |  |  |
|  | • 2 x DC Ammeter |  |  |  |
|  | • Measurement DC |  |  |  |
|  | • Panel Size: 78mm x 42mm |  |  |  |
|  | • Connection: 4mm safety sockets |  |  |  |
|  | SWITCHABLE RESISTOR MODULE |  |  |  |
|  | • 1 x 0/400/800 ohm (150W) |  |  |  |
|  | • Selector switch for 3 steps variable |  |  |  |
|  | • Applicable for DC Motor as starting resistor |  |  |  |
|  | • Connection: 4mm safety socket |  |  |  |
|  | DIGITAL TACHOMETER |  |  |  |
|  | i. Photo Tach: |  |  |  |
|  | • 0.01RPM(2.5~999.99RPM) |  |  |  |
|  | • 0.1RPM (1,000~9,999.9RPM) |  |  |  |
|  | • 1RPM (over 10,000RPM) |  |  |  |
|  | ii. Contact Tach: |  |  |  |
|  | • 0.01RPM(0.5~999.99RPM) |  |  |  |
|  | • 0.1RPM (1,000~9,999.9RPM) |  |  |  |
|  | • 1RPM (over 10,000RPM |  |  |  |
|  | BENCH TOP MOUNTING FRAME |  |  |  |
|  | • Material: Metal/Aluminium |  |  |  |
|  | • Side Frame: T-Shape |  |  |  |
|  | • I Layer |  |  |  |
|  | • Size: approx. 1100mm (L) |  |  |  |
|  | MANUALS AND ACCESSORIES |  |  |  |
|  | 1. perational Manual x1 |  |  |  |
|  | 2. Lab Experiment Guided Manual with Answers x1 |  |  |  |
|  | 3.4mm safety connecting leads set |  |  |  |
| 18 | DC shunt generator | 3 |  |  |
|  | • output Voltage: approx 220VDC |  |  |  |
|  | • Speed: approx. 1600 rpm |  |  |  |
|  | • Power: approx. 250W |  |  |  |
| 19 | DC compound generator | 3 |  |  |
|  | output Voltage: approx220VDC |  |  |  |
|  | • Speed: approx. 1600 rpm |  |  |  |
|  | • Power: approx. 100W |  |  |  |
| 20 | DC shunt motor | 3 |  |  |
|  | • Input Voltage:220VDC |  |  |  |
|  | • Speed: approx. 1600 rpm |  |  |  |
|  | • Power: approx. 250W |  |  |  |
| 21 | DC compound motor | 5 |  |  |
|  | Input Voltage:220VDC |  |  |  |
|  | • Speed: approx. 1600 rpm |  |  |  |
|  | • Power: approx. 100W |  |  |  |
| 22 | Three phase transformer 2 kVA | 3 |  |  |
|  | Turn ratio: 1:1 Isolation type |  |  |  |
|  | provision to make star/delta connection on both primary and secondary side |  |  |  |
| Workshop Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Pliers | 10 |  |  |
| 2 | Screwdrivers set (9 Pcs) | 10 |  |  |
| 3 | Tape measure | 10 |  |  |
| 4 | Electric tape | 100 |  |  |
| 5 | Paper tape for tagging | 100 |  |  |
| 6 | Wire stripper | 10 |  |  |
| 7 | Voltage tester | 10 |  |  |
| 8 | Wire crimpers | 10 |  |  |
| 9 | Splicing connectors | 100 |  |  |
| 10 | Cable ties | 100 |  |  |
| 11 | Digital Multimeters (Digital Multimeter Voltage Current Temperature Capacitance and Temperature Meter), | 10 |  |  |
|  | Specifications and Range: |  |  |  |
|  | DC voltage (V) 1000V |  |  |  |
|  | AC voltage (V) 1000V |  |  |  |
|  | DC current (A) 10A |  |  |  |
|  | AC current (A) 10A |  |  |  |
|  | Resistance (Ω) 40MΩ |  |  |  |
|  | Capacitance (F) 40mF |  |  |  |
|  | Frequency (Hz) 400Hz~40mHz |  |  |  |
|  | Temperature (°C) -40~1000℃ |  |  |  |
|  | Temperature (℉) -40~1832℉ |  |  |  |
| 12 | Digital Clamp meter | 10 |  |  |
|  | Function, Range and Accuracy |  |  |  |
|  | DC Current 600 A ± (2%+5) |  |  |  |
|  | AC Current 600 A ± (2%+5) |  |  |  |
|  | DC Voltage 600 V ± (0.5%+2) |  |  |  |
|  | AC Voltage 600 V ± (0.8%+5) |  |  |  |
|  | AC voltage frequency 10 Hz~60 kHz ± (0.5%+2) |  |  |  |
|  | Resistance 40 Ω ± (1.0%+2) |  |  |  |
|  | 6 kΩ ~ 600 kΩ± (0.8%+2) |  |  |  |
|  | 60 MΩ ± (2.5%+5) |  |  |  |
|  | Capacitance 60 nF ~ 600 µF ± (4%+5) |  |  |  |
|  | 60 mF ± (10%) |  |  |  |
|  | Temperature -40°C~1000°C ± (1.5%+5) |  |  |  |
|  | Frequency 10 Hz~10 MHz ± (0.1%+4) |  |  |  |
| 13 | Hammer | 5 |  |  |
| 14 | Handheld insulation resistance tester Specifications: Insulation resistance (Ω), Specifications and Range | 10 |  |  |
|  | Insulation resistance (Ω): |  |  |  |
|  | 50V |  |  |  |
|  | 0.01MΩ~50MΩ ± (3%+5) |  |  |  |
|  | 100V |  |  |  |
|  | 0.01MΩ~100MΩ ± (3%+5) |  |  |  |
|  | 250V |  |  |  |
|  | 0.01MΩ~200MΩ ± (1.5%+5) |  |  |  |
|  | 500V |  |  |  |
|  | 0.01MΩ~500MΩ ± (1.5%+5) |  |  |  |
|  | 1000V |  |  |  |
|  | 0.1MΩ~2000MΩ ± (1.5%+5) |  |  |  |
|  | 2GΩ~9.9GΩ ± (10%+3) |  |  |  |
|  | Load current: |  |  |  |
|  | 50V (R=50kΩ) 1mA 0%~10% |  |  |  |
|  | 100V (R=100kΩ) 1mA 0%~10% |  |  |  |
|  | 250V (R=250kΩ) 1mA 0%~10% |  |  |  |
|  | 500V (R=500kΩ) 1mA 0%~10% |  |  |  |
|  | 1000V (R=1MΩ) 1mA 0%~10% |  |  |  |
|  | Short circuit current: <2mA |  |  |  |
|  | Low resistance (Ω) 0.01Ω~20kΩ (about 5V/>200mA) ± (1.5%+3) |  |  |  |
| 15 | Handheld circuit finder | 5 |  |  |
|  | ACCURATE CIRCUIT BREAKER IDENTIFICATION (Quickly locate the correct breaker with precision using our circuit breaker finder, ensuring efficient electrical troubleshooting) |  |  |  |
|  | TWO-PART SYSTEM (Consists of a Transmitter connected to the outlet/fixture and a Receiver to scan the panel, allowing for easy and accurate breaker identification) |  |  |  |
|  | CLEAR INDICATIONS |  |  |  |
|  | WIDE COMPATIBILITY (operating voltage 220 50Hz) |  |  |  |
|  | BUILT-IN GFCI TESTER |  |  |  |
|  | UNIVERSAL CONNECTIVITY (easy connection to pakistani grounded electrical outlets, ensuring seamless compatibility) |  |  |  |
| 16 | Insulated electric safety gloves | 100 |  |  |
| 17 | Safety glasses | 100 |  |  |
| 18 | FR4 pcb 6 *6 | 100 |  |  |
| 19 | pcb thermal transfer paper | 110 |  |  |
| 20 | Ferric chloride for pcb etching (5kg) | 1 |  |  |
| 21 | PVC tub for PCB etching | 7 |  |  |
| 22 | PCB drilling machine | 5 |  |  |
| 23 | PCB CNC prototyping machine | 5 |  |  |
| 24 | PCB soldering stations | 10 |  |  |
| 26 | Electric cable 7/29 | 5 |  |  |
| 27 | Electric cable 3/29 | 5 |  |  |
| Digital Logic Design (DLD) Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | DIGITAL LOGIC TRAINER (Input voltage 220V 50 Hz AC, Circuit type TTL compatible, 16 lamp monitors-transistor buffered, Logic probe with pulse detection, One clock timer, Output voltage +12V, -12V and +5V at IA), Components: | 11 |  |  |
|  | •16 LED’s with drivers. |  |  |  |
|  | • 8 logic switches. |  |  |  |
|  | • 2 logic switches with debouncing circuitry. |  |  |  |
|  | • Logic probe with LOW, HIGH and PULSE indicators. |  |  |  |
|  | • 2 push pull switches to generate negative going pulse. |  |  |  |
|  | • One timer based on NE-555 with variable control. |  |  |  |
|  | • Three 7-segment displays with BCD decoders/drivers. |  |  |  |
|  | • One linear variable 10K. |  |  |  |
|  | • One linear variable 100K. |  |  |  |
|  | • Two breadboards |  |  |  |
| 2 | 7404 (HEX INVERTER) IC | 50 |  |  |
| 3 | 7408 (Quad 2-In AND) IC | 50 |  |  |
| 4 | 7432 (Quad 2-In OR) IC | 50 |  |  |
| 5 | 7400 (Quad 2-In NAND) IC | 50 |  |  |
| 6 | 7408 (Quad 2-In AND) IC | 50 |  |  |
| 7 | 7486 (Quad 2-In XOR) IC | 50 |  |  |
| 8 | 74138 Decoder IC | 50 |  |  |
| 9 | 74139 DEMUX IC | 50 |  |  |
| 10 | 74154 Decoder IC | 50 |  |  |
| 11 | 74153 Multiplexer IC | 50 |  |  |
| 12 | 74151 Multiplexer IC | 50 |  |  |
| 13 | 74150 Multiplexer IC | 50 |  |  |
| 14 | 74109 (Dual JK FF (+edge, pre, clr)) IC | 50 |  |  |
| 15 | 74112 (Dual JK FF (+edge, pre, clr)) IC | 50 |  |  |
| Control System Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Ball and beam control module | 10 |  |  |
|  | The Ball and Beam module consists of a steel rod in parallel with a nickel-chromium, wire-wound resistor forming the track on which the metal ball is free to roll. The track is effectively a potentiometer, outputting a voltage that’s proportional to the position of the ball. |  |  |  |
|  | When coupled to the Rotary Servo Base Unit, the tilt angle of the beam can be controlled by changing the servo gear angle. The Ball and Beam module can be operated in stand-alone mode, and the ball position can be controlled via the user interface |  |  |  |
|  | plant = Rotary Servo Base Unit Ball and Beam module |  |  |  |
|  | interface = USB |  |  |  |
|  | Control Design environment = MATLAB(simulink) |  |  |  |
|  | The license of MATLAB won’t be part of this, however Example codes + manual must be included |  |  |  |
| 2 | QUBE Servo 2 or any other servo motor control trainer | 4 |  |  |
|  | or Equivalent |  |  |  |
| Power System Lab |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Generator Control & Synchronizing Trainer | 10 |  |  |
| 2 | Automatic Synchronizing Trainer | 10 |  |  |
| 3 | Power Transmission Lines Module Trainer | 10 |  |  |
| 4 | Banana connector and plugs with wire | 200 |  |  |
| Instrumentation and Measurements Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Transformer 230v/15v | 15 |  |  |
| 2 | Bread board | 50 |  |  |
|  | GL-12 830 Points |  |  |  |
| 3 | Resistors | 1000 |  |  |
|  | ¼ W (1Ω, 10Ω, 100Ω, 220Ω, 330Ω, 470Ω, 1000Ω, 3.3kΩ ,10kΩ , 33kΩ ,100kΩ ,1MΩ) |  |  |  |
| 4 | Variable Resistor (10k ohm POT with knob) | 100 |  |  |
| 5 | Inductors (2.2uH,5uH,100uH, 220uH, 330uH, 470uH, 1mH, 4.7mH) | 100 |  |  |
| 6 | Digital Multimeters (Digital Multimeter Voltage Current Temperature Capacitance and Temperature Meter), | 4 |  |  |
|  | Specifications and Range: |  |  |  |
|  | DC voltage (V) 1000V |  |  |  |
|  | AC voltage (V) 1000V |  |  |  |
|  | DC current (A) 10A |  |  |  |
|  | AC current (A) 10A |  |  |  |
|  | Resistance (Ω) 40MΩ |  |  |  |
|  | Capacitance (F) 40mF |  |  |  |
|  | Frequency (Hz) 400Hz~40mHz |  |  |  |
|  | Temperature (°C) -40~1000℃ |  |  |  |
|  | Temperature (℉) -40~1832℉ |  |  |  |
| 7 | Lab trainer kit | 4 |  |  |
|  | (Power supply 0- 30V 1A) + breadboard + DMM + screwdriver set) |  |  |  |
| 8 | Capacitors | 100 |  |  |
|  | electrolytic, 10uF, 22uF, 47uF, 100uF, 1000uF 470uF |  |  |  |
| 9 | Resistance Box | 10 |  |  |
|  | (1,10,100,220,330,10k, 100k, 1M) ohm |  |  |  |
|  | selection with keys option |  |  |  |
|  | keys also included |  |  |  |
| 10 | LDR 10k | 100 |  |  |
| 11 | RTD | 10 |  |  |
| 12 | Ultrasonic Sensor | 15 |  |  |
|  | Arduino compatible |  |  |  |
| 13 | Energy Meter | 10 |  |  |
|  | Power = 0 to >-=10kW |  |  |  |
|  | 230V/400V VAC |  |  |  |
|  | communication interface |  |  |  |
|  | Modbus or CAN bus over Rs485 |  |  |  |
|  | measurement parameters |  |  |  |
|  | voltage |  |  |  |
|  | current |  |  |  |
|  | power |  |  |  |
|  | power factor |  |  |  |
|  | mechanical properties |  |  |  |
|  | can be installed on DIN rail |  |  |  |
|  | should have a local lcd display |  |  |  |
| 14 | Electronic Wattmeter | 3 |  |  |
|  | power factor meter |  |  |  |
|  | Power Meter |  |  |  |
|  | Voltage (V) (10V~1000V, AC/DC, ±0.5%Udin) |  |  |  |
|  | AC current (A) (upto 1000A, ±0.5%f.s.) |  |  |  |
|  | Frequency (Hz) (40~70Hz ±50mHz) |  |  |  |
|  | Power (W) (>15%S ±1%S) |  |  |  |
|  | Power factor (0~1 ±0.02) |  |  |  |
|  | Energy (Wh) (0~9999MWh ±1.5%rdg) |  |  |  |
|  | Crest factor (1 to 10 ±5%) |  |  |  |
|  | Features |  |  |  |
|  | True RMS (Yes) |  |  |  |
|  | Harmonic analysis (Up to 51th Yes) |  |  |  |
|  | Flick measure (10 minutes, PST and PLT values Yes) |  |  |  |
|  | Voltage ratio Yes |  |  |  |
|  | Current ratio Yes |  |  |  |
|  | Event capture Yes |  |  |  |
|  | Trend capture Yes |  |  |  |
|  | Data logging 8GB Yes |  |  |  |
|  | USB interface Yes |  |  |  |
|  | Backlight adjustment Yes |  |  |  |
|  | Low battery indication Yes |  |  |  |
|  | Input protection Yes |  |  |  |
|  | power |  |  |  |
|  | input 220VAC 50Hz |  |  |  |
|  | battery backup supported |  |  |  |
| 15 | Lux Meter | 10 |  |  |
|  | Illuminance measurement (LUX): 0~199,900Lux |  |  |  |
|  | Illuminance measurement (FC): 0~18,500Fc |  |  |  |
|  | Accuracy: 0~9999Lux/0~999Fc: ±(4%+8), ≥10000Lux/≥1000Fc: ±(5%+10), ≥100000Lux/≥9999Fc: ±(5%+10) |  |  |  |
|  | Resolution: 1Lux (0~9999Lux), 10Lux (≥10,000Lux), 100Lux (≥100,000Lux), 1Fc (0~9999Fc); FC=Lux/10.76, 10Fc (≥10,000Fc); FC=Lux/10.76 |  |  |  |
|  | Sampling time: 0.5s |  |  |  |
|  | Overload indication: OL |  |  |  |
|  | MAX/MIN: Yes |  |  |  |
|  | Data hold: Yes |  |  |  |
|  | LCD backlight: Yes |  |  |  |
|  | Auto power off: Yes |  |  |  |
|  | Low battery indication: Yes |  |  |  |
|  | Power: 1.5V battery (R03) x 3 |  |  |  |
|  | LCD Display |  |  |  |
| Solar Energy Technology Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Solar panel (180W) | 1 |  |  |
| 2 | MPPT charge controller 20A | 1 |  |  |
| 3 | Battery (48AH) | 1 |  |  |
| 4 | Offgrid inverter 1kva | 1 |  |  |
| 5 | Ongrid inverter 3kva | 1 |  |  |
| 6 | Pyranometers | 1 |  |  |
|  | GHI/DNI measurement |  |  |  |
|  | Datalogging>=8GB or microSD card support |  |  |  |
|  | battery backup, standalone, real-time clock |  |  |  |
| 7 | Solar path finder | 1 |  |  |
| 8 | Compass | 3 |  |  |
|  | durable, rubber/ metal housing, |  |  |  |
| 9 | Angle finder ( inclinometer) | 1 |  |  |
| Wind Energy Technology Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | Wind turbine vertical (500W) PMSG | 1 |  |  |
| 2 | Wind turbine horizontal (500W)PMSG | 1 |  |  |
| 3 | Wind speed logging setup (weather station) | 1 |  |  |
|  | windspeed measurement (0 to 160kph) |  |  |  |
|  | wind direction measurement*0to 360 degree) |  |  |  |
|  | offline data logging |  |  |  |
|  | battery/charging supported |  |  |  |
|  | temperature logging |  |  |  |
|  | real time clock |  |  |  |
|  | rainfall |  |  |  |
| 4 | Charge controller for wind turbine | 1 |  |  |
|  | 50A |  |  |  |
| 5 | Battery (48AH) | 1 |  |  |
| Robotics Lab |
| Local |
| S.No | Name of Equipment/Device | Qty | Unit Price (PKR) | Total Amount (PKR) |
| 1 | 4WD robotic smart car model (arduino based) | 10 |  |  |
| 2 | 6DOF 3D rotating metal mechanical arm with servo based | 10 |  |  |
| 3 | 3D printer | 2 |  |  |
| 4 | 3D printer filament | 10 |  |  |