Department of Mining Engineering

BOQ

- Mineral Processing

| Sr. No. | Equipment Name | Qty. |
| --- | --- | --- |
| 1. | PH Meter Model Accuracy: ±0.02 pH Temperature compensation: automatic calibration: automatic range: -2.00 - 16.00 pH Origin: Local, China or Equivalent | 01 set |

- Rock Mechanics

| Sr. No. | Equipment Name | Qty. |
| --- | --- | --- |
| 1 | Pundit portable ultrasonic nondestructive digital indicating tester Measuring range 0 -3000 microsecond Accuracy +0.1ms variable ultrasonic pulse amplitude Inte rface mini-USB for PC connection Rechargeable battery Origin: Japan, USA, European Union, China or Equivalent | 01 set |
| 2. | Core Drilling Drilling diameter. 8-60 mm Fastening Device for Core Samples, up to 100mm dia. Diamond Core Bit for 21.46mm dia. (EX) specimens, with spigot adaptor Diamond Core Bit for 30.10mm dia. Must include NX size 54mm. Origin: Local, China or Equivalent | 01 set |

- Mine Safety Laboratory

| Sr. No. | Equipment Name | Qty. |
| --- | --- | --- |
| 1 | Total & Respirable Dust Sampler Pump with built-in calibration system Flow range of 1.5-3 1/mm adjustable flow Built-in pulsation dampener Rechargeable battery pack, Timing 12 hours Compatible to international standards Operating Temperature-10 to 40C Weight: 400g-1000g Accessories: Sampling heads for total dust sampling with connecting tubes. Spare filters, filter cassettes, filter media for collecting total dust. Rechargeable batteries with charger Any other essential accessories Origin: Japan,USA,Europen Union,China or Equivalent | 01 |
| 2. | Multi Toxic Gas Monitor Detect 4 gas gases assessing the presence of main gasses which include oxygen, carbon monoxide, hydrogen sulfide, they also detect lower explosive levels (LELs) of flammable, combustible gasses. CO2 detection is optional and preferred. Technology: Infrared technology Measuring range: 0- 2000 ppm Battery run time : 3- 5 hours Origin: Japan/UK/USA/ EU Standards, China or Equivalent | 01 |
| 4. | Portable CO meter Dual display of (CO) concentrations and Humidity, Temperature, Dew Point, Range; 0 to 9.999ppm Resolution; 1ppm Temperature; 14 to 122F Origin: Local, China or Equivalent | 01 |
| 5. | Mines safety Helmets Safety helmets, with torches. Origin: Local, China or Equivalent | 39 |

- Mine Ventilation Laboratory

| Sr. No. | Equipment Name | Qty. |
| --- | --- | --- |
| 1. | Portable Core Drill Machine Power source: Fuel Operated (Diesel/Petrol) Variable coring capacity: (30-75mm bits) NX size 54mm bit Universal core drilling machine: 0- 360 degree Origin: Japan, USA, European Union, China or Equivalent | 01 |

- Mine Machinery & Survey Lab

| Sr. No. | Equipment Name | Qty. |
| --- | --- | --- |
| 1. | Plani meter Digital Unit metric: mm, mm / cm / m / ha / km Accuracy = ± 0.1% Resolution = area 0.05 cm2 Origin: Japan, USA, European Union, China or Equivalent | 01 |
| 2. | Ranging rods wooden 2 meter Material: Wooden Length: 2m Origin: Local | 01 |
| 3. | Tilting Level Length: 170 -200mm Magnification: 20X -30X Objective Aperture: 35-40mm Accuracy: ± 2-3 mm / Km Graduation: 10 minutes Origin: Local | 5 |
| 4. | Truff Compass MATERIAL: Aluminum body with steel needle Origin: Local | 3 |

| 5. | Telescopic Alidade Telescopic alidade with compass on brass base and foot screws & bubble, Compass dia: 8 -10 cms. Telescope's lens: 20- 25 mm. Magnification 15 -30 X. Telescope extended: 32 cms, collapsed 23 cms. Origin: Local | 5 |
| --- | --- | --- |
| 6 | Aerial Mapping System (RTK Drone + Software) Must Include following Features: - Intelligent Battery Station - Equipped GPS RTK module - Remote Flight Controller - LiPo 6S 22000 mAH (2x) Batteries with Charger - Infrared Sensing Systems (obstacle sensing range: 0.1 to 10 m - FPV Camera (Res: 1920×1080 or better) - Onboard Computer (Integrated with Flight Controller) - Integrated Range Finders for Obstacle Avoidance Dimensions (folded): >300×220×160 mm (L×W×H) Diagonal Wheelbase: >650 mm Takeoff Weight: 4 kg or more Hovering Accuracy: Vertical: ±0.1 m, Horizontal: ±0.3 m RTK Positioning Accuracy: 1cm+1ppm (horizontal), 1.5cm+1ppm (vertical) Hover Time: >35 min Flight Time: >40 min GNSS: GPS+Galileo+BeiDou+GLONASS Operating Temperature: -10° to 50° C Origin: Local , China or Equivalent | 01 |

- Geology Lab

| Sr. No. | Equipment Name | Qty. |
| --- | --- | --- |
| 1 | Thin Section Preparation Apparatus with Accessories Electric motor: 1000 – 1500 W / 220 V / 50, 60 Hz Cutting Blade: 8” – 100” Diamond Blade. (with Spare Blades) Grinding Cup: 150 -200mm Diamond Cup Micrometer accuracy: 5 Micron Stainless Steel Cutting unit accuracy: 0.2 mm or better Cutting unit system: Mechanical Rail Thinning / Grinding system: Automatic or Manual Control system: Automatic or Manual adjustable Thin Section Holder: Auto holder with Vacuum pressure Vacuum Regulator Box: Univac 4 Vacuum Pressure Pump: 800 – 1000 mbar Vacuum Pump Circulator Cooling unit: 30-40 Liters, Polymer tank, 60 W Circulating Pump Base / Frame: Cast Iron / Stainless Steel Approx. weight: 70-100 kg Approx. dimensions (cm): Width 30-40 cm, Length 65-75 cm, Height 30-40cm Origin: Japan, USA, European Union, China, Local or Equivalent | 01 |
| 3 | Rocks, Minerals and Gemstone Collection Kit Kit Collection includes - 5pcs Mixed quartz mineral and rock samples Specimens includes: White crystal / Obsidian / Yellow quartz / Rose Quartz / Amethyst. Geology Science Kit Collection includes - 15 mineral and rock samples Specimens includes: Tektite/ Red Jasper/ Anethyst/ Meteorite/ Strawberry Quartz/ White Crystal/ Crystal / Pyrite / Aventurine/ Kyanite/ Amazonite/ Stalactite/ Carborundum/ Iceland Spar/ Prehnite Samples measure approximately 3 - 4 cm in length Origin: Local | 01 |

| 4. | Geology Landform Demonstration Kit Over10-20 activities enable students to develop a thorough understanding of volcanic action, faulting and folding as well as many other geologic processes. Kit includes Demonstration tray, three pieces of legible foam, three simulated rock structures, an erupting volcano, miscellaneous project materials and comprehensive Study Guide. Origin: Local | 01 |
| --- | --- | --- |
| 5 | Earth Cross section Model Foam model illustrates the different parts of Earth. Introduce to Earth science! Outside surface shows oceans and continents Hemispheres separate to show the 4 main layers of Earth (crust, mantel, outer core, inner core) and temperatures. Origin: Local | 01 |

  - Dr. Khan Gul Jadoon

  - Engr. Gul Rehman

  - Engr. Zahid Mir

  - Engr. Nasir Abbas