BID DOCUMENT

(RFP)

NAME of Work:  Supply/Installation and Fixation of Blow Molding Plant under HEDP Project KIU Main Campus Gilgit

OPENING DATE				:		April 19, 2024

OPENING TIME				:		11:30 am

VENUE					:		University Senate Hall/Conference hall

Islamabad

Karakoram international university

University Road, Gilgit

Website: www.kiu.edu.pk

Email: zahid.ali@kiu.edu.pk

Tele No.05811-960010-13(Ext=231) Fax No. 05811-960032

(Price Rs.1000)

- Definitions:

  - KIU: Karakoram International University, Gilgit

  - RFP: Request for Proposal

  - Bill of Quantities (BOQ):  Means detail of equipment required, with complete specifications and quantity required attached with this RFP/bid document.

  - Warranty: Warranty for one year mean accurate functioning/ maintenance of equipment at the sole responsibilities of the supplier.

  - LE: Lab Equipment

  - Bidder: The participant firm who has submitted the proposal

  - Selected bidder: Bidder selected for award of tender for a particular work

- General Requirements:

Following are the General Requirements applicable for RFP

  - The selected bidder will be responsible for the supply and installation of equipment given in BOQ for KIU under HEDP project.

  - Selected bidder must ensure that the supplied equipment is fully operational and performs properly.

  - At the time of installation and commissioning, Selected Bidder must provide comprehensive system documentation of system deployed including diagrams, labeling, schematics, configuration etc.

  - The supplier will provide warranty of supplied equipment minimum for one year from the date of installation/commissioning/ functioning properly.

  - Service after sale: The supplier(s) through their authorized dealer/agent in Pakistan shall be responsible to execute with Karakoram International University (KIU), Gilgit, Gilgit-Baltistan after Sale Service Level Agreement SLA) with KIU at agreed charges, period and other terms and condition after expiry of warranty period, if deemed necessary by KIU.

  - Dealers/Agents must be: -

i). Authorized Dealers/ Agents of the manufacturer/ suppliers in Pakistan.

ii). Have valid authorized dealership/agency certificate.

iii). Have their Head Office in Pakistan.

iV). Have a qualified/professional Equipment Engineer/technicians/staff capable to repair/maintain such kind of Equipment.

vi). Provide “satisfactory performance” certificate” from three clients .

vii). Provide a copy of their firm Registration Certificate in Pakistan, along with NTN, GST, and Sales certificate.

viii). Income Tax & Sale Tax registration be provided.

- Bids Requirements

The objective of bids requirements is to provide bidders with the information to submit their technical bid in response of RFP. For all categories, bidders must follow requirements for their proposals/bids:

  - For this tender PPRA’S Para 36(b) “Single Stage two envelope bidding procedure for technical and financial bids will be followed”.

  - Bids shall comprise of two envelopes containing two separate i.e. Technical and Financial Proposal and clearly marked Technical and Financial proposals.

  - Proposals shall contain Company profile, Authorization Letters& relationship with principal firms if any etc.

  - Initially Technical proposals will be evaluated. Financial bids of only technically qualified firm shall be opened on the date specified later on.

- Minimum requirements for Service Level Agreements(SLA)

Following requirements for SLA applicable for this RFP:

  - The selected Bidder shall provide 01 years’ warranty/services/hardware parts replacement and software support. The bidder shall ensure that the equipment and its parts are new and free from any sort of defects.

  - Any cause of delay in response and rectification of fault will lead to financial penalties to the selected bidder and details of penalties will be incorporated in SLA.

- Terms of payment

  - Ninety percent (90%) of the contract amount will be paid after successful supply, installation, commissioning and functioning of duly verified, accepted and certified by the authorized inspection committee of KIU after supply & installation of equipment.

  - Ten percent (10%) of the total contract value will be retained as security/ retention money and will be released after completion of warranty period.

  - Income tax 4.5% will be deducted at source, where applicable.

  - GST/ other taxes (if any) shall be recovered if applicable.

- Liquidated Damages

  - liquidated damages shall be applicable if equipment is not supplied on the fixed date, time and venue as per detail below rate:

- A penalty of 0.01% per day of contract cost can be imposed for delays in supply up to 60 days.

- In case the delay in delivery is more than 60 days 10% Late Delivery (LD) will be imposed on the cost of un-delivered items.

- In case of failure in supply of items, 2% earnest money shall be forfeited and the supplier will be blacklisted as per PPRA rules

- Terms and Conditions of Successful bidder

  - The selected bidder shall provide the technical documentation as well as user’s manual for the equipment both in the form of hard copy and soft copy.

  - The earnest money 2% of the successful bidder shall be deposited in security deposit account of KIU after supply, installation, testing, commissioning and integration of equipment as mentioned in BOQ and will be adjusted in final bill of the supplier.

  - The equipment required for work completion other than explicitly mentioned in the BOQ of this RFP will be the responsibility of the successful bidder.

  - Successful bidder is bound to deliver the equipment of BOQ at KIU Main Store, Gilgit Campus at his own Cost and risk.

  - All the prices should be quoted in Pakistani rupees.

  - The successful bidder is responsible to provide onsite training for KIU Technical staff, minimum for two weeks to operate the equipment according to acceptable standards.

  - The selected bidder bound to provide original bill of landing /entry and paid import taxes etc.

  - In case of doubt supplied equipment will be verified from manufacturer with serial number provided on equipment or from the landing documents etc.

- General terms and conditions:

The following General terms and conditions apply to all categories of this RFP:

  - Sealed Technical bids supported with technical catalogs will be opened on April 19, 2024 at 11:30 am KIU Senate Hall/Conference hall.

  - Sealed tenders should be sent via courier services to the Assistant Director Purchases, Karakoram International University, which should reach in at least by 11:00 am in KIU, which will be opened in presence of the committee members and bidders at 11:30 AM on the same date.

  - By hand tenders not be accepted.

  - Ambiguous, conditional and void tenders are liable to be rejected.

  - Taxes will be deducted at source as per rules (if applicable).

  - The equipment will be selected against item (s)-wise lowest rate of each firm, who will stand 1st lowest for the items.

  - RFP will be issued to the firms dealing in Chemicals & Scientific Lab equipment.

  - The university reserves the rights to reject/cancel all or any of the bids as per clause 33 of the Public Procurement Rules, 2004. (Reasons to be communicated if demanded).

  - Validity period of the bids should be 90 days.

  - The decision of the University shall be binding on all concerned and will in no case be challengeable at any forum or any court of law.

  - Bids are liable to be rejected, if they are not in line with the terms, conditions and specifications stipulated in this RFP.

  - During the examination, evaluation and comparison of bids the KIU, at its sole discretion, may ask the bidder for clarification of its bid.

  - The request for clarification and response shall be in writing/email and no change in price or substance of the bid shall be sought, offered or permitted.

  - Delivery time for all items is 12 to 13 weeks after receipt of supply order.

  - Bids submitted via email or fax will not be entertained.

  - The bidder will have to submit a certificate that equipment will be provide of origin mentioned.

  - Bidders will have to provide documentary verifiable evidence regarding authorized agent/dealership of the manufacture.

  - The prospective supplier has to execute an agreement with the University that he will provide the item as per quality and quantity prescribed in the bid documents before the supply order is issued.

  - Bidders have to quote only one option, Bids having more than one option will be treated as non-responsive.

  - The quantity of equipment may increase or decrease as per requirement.

- Clarifications:

Queries regarding this RFP shall be submitted in writing to:

Zahid Ali                                                                     		            Nouman Butt

AD Purchases 	                                            		                          Treasurer KIU

Ph: 05811-960010-13(Ext231)                                                	    Ph: 05811-960036 (Ext107)

zahid.ali@kiu.edu.pk	                                                                                treasurer@kiu.edu.pk

13.0	I have read and accept all the terms and conditions.

Manufacturer/Supplier:

Name_________________________________________________________________

Designation____________________________________________________________		Authorized Dealer/Agent in Pakistan:

Name_____________________________________________________________

Designation___________________________________________________________

Signature_____________________________________________________________

Date_________________________________________________________________

BOQ

| S# | Description | QTY |
| --- | --- | --- |
| 1 | Capacity 5000-6000 Bottles per day (8 Hour) Origin : imported Capacity up to 850 for 0.1 using two cavity blow mold. Advance PLC control System with a user friendly panel and time control precision of PLC up to 0.01 second. Equipped with a special designed air storage unit. Independent Temperature control for different heating lamps to get ideal performs heating result. Heating lamps are adjustable in directions. 15 days Training for operating. | 01 |

Dr. Furukh Faiz (Focal Person)

furrukhfaiz@kiu.edu.pk