BID DOCUMENT

(RFP)

NAME of Work:  Supply/Installation and Fixation of Lab Equipment for Engineering Department KIU Main Campus Gilgit

OPENING DATE				:		May 16, 2025

OPENING TIME				:		11:30 am

VENUE					:		University Conference hall Gilgit

Karakoram international university

University Road, Gilgit

Website: www.kiu.edu.pk

Email: zahid.ali@kiu.edu.pk

Tele No.05811-960010-13(Ext=231) Fax No. 05811-960032

(Price Rs. 3,000)

- Definitions:

  - KIU: Karakoram International University, Gilgit

  - RFP: Request for Proposal

  - Bill of Quantities (BOQ):  Means detail of equipment required, with complete specifications and quantity required attached with this RFP/bid document.

  - Warranty: Warranty for one year mean accurate functioning/ maintenance of equipment at the sole responsibilities of the supplier.

  - LE: Lab Equipment

  - Bidder: The participant firm who has submitted the proposal

  - Selected bidder: Bidder selected for award of tender for a particular work

- General Requirements:

Following are the General Requirements applicable for RFP

  - The selected bidder will be responsible for the supply and installation of equipment given in BOQ for Engineering Department KIU under development project.

  - Selected bidder must ensure that the supplied lab equipment is fully operational and performs properly.

  - At the time of installation and commissioning, Selected Bidder must provide comprehensive system documentation of system deployed including diagrams, labeling, schematics, configuration etc.

  - The supplier will provide warranty of supplied equipment minimum for one year from the date of installation/commissioning/ functioning properly.

  - Service after sale: The supplier(s) through their authorized dealer/agent in Pakistan shall be responsible to execute with Karakoram International University (KIU), Gilgit, Gilgit-Baltistan after Sale Service Level Agreement SLA) with KIU at agreed charges, period and other terms and condition after expiry of warranty period, if deemed necessary by KIU.

  - Dealers/Agents must be: -

i). Authorized Dealers/ Agents of the manufacturer/ suppliers in Pakistan.

ii). Have valid authorized dealership/agency certificate.

iii). Have their Head Office in Pakistan.

iV). Have a qualified/professional Lab Equipment Engineer/technicians/staff capable to repair/maintain such kind of Lab/ Scientific Equipment.

v). Provide a list of minimum three public sector institutions in Pakistan to whom they supplied such kind of equipment and who are getting their services of repair/maintenance during the last 3 years.

vi). Provide “satisfactory performance” certificate” from three clients who are public sector institutions in Pakistan to whom they supplied such kind of Equipment and providing after sales services during last 3 years.

vii). Provide a copy of their firm Registration Certificate in Pakistan, along with NTN, GST, and Sales certificate.

viii). Income Tax & Sale Tax registration be provided.

- Bids Requirements

The objective of bids requirements is to provide bidders with the information to submit their technical bid in response of RFP. For all categories, bidders must follow requirements for their proposals/bids:

  - For this tender PPRA’S Para 36(b) “Single Stage two envelope bidding procedure for technical and financial bids will be followed”.

  - Bids shall comprise of two envelopes containing two separate i.e. Technical and Financial Proposal and clearly marked Technical and Financial proposals.

  - Proposals shall contain Company profile, Authorization Letters & relationship with principal firms if any etc.

  - Initially Technical proposals will be evaluated. Financial bids of only technically qualified firm shall be opened on the date specified later on.

- Minimum requirements for Service Level Agreements(SLA)

Following requirements for SLA applicable for this RFP:

  - The selected Bidder shall provide 01 years’ warranty/services/hardware parts replacement and software support. The bidder shall ensure that the equipment and its parts are new and free from any sort of defects.

  - Any cause of delay in response and rectification of fault will lead to financial penalties to the selected bidder and details of penalties will be incorporated in SLA.

- Terms of payment

  - Ninety percent (90%) of the contract amount will be paid after successful supply, installation, commissioning and functioning of duly verified, accepted and certified by the authorized inspection committee of KIU after supply & installation of equipment.

  - Ten percent (10%) of the total contract value will be retained as security/ retention money and will be released after completion of warranty period.

  - Income tax 4.5% will be deducted at source, where applicable.

  - GST/ other taxes (if any) shall be recovered if applicable.

- Liquidated Damages

  - liquidated damages shall be applicable if equipment is not supplied on the fixed date, time and venue as per detail below rate:

- A penalty of 0.01% per day up to 05% of contract cost can be imposed for delays in supply up to 60 days.

- In case the delay in delivery is more than 60 days 10% Late Delivery (LD) will be imposed on the cost of un-delivered items.

- In case of failure in supply of items, Security earnest money shall be forfeited and the supplier will be blacklisted as per PPRA rules

- Terms and Conditions of Successful bidder

  - The selected bidder shall provide the technical documentation as well as user’s manual for the equipment both in the form of hard copy and soft copy.

  - The Security earnest money Rs.105,435/- for Civil Engineering Lab Equipment and Rs. 51,000/- Mining Engineering Lab Equipment of the successful bidder shall be deposited in security deposit account of KIU after supply, installation, testing, commissioning and integration of equipment as mentioned in BOQ and will be adjusted in final bill of the supplier.

  - The equipment required for work completion other than explicitly mentioned in the BOQ of this RFP will be the responsibility of the successful bidder.

  - Successful bidder is bound to deliver the equipment of BOQ at KIU Main Store, Gilgit Campus at his own Cost and risk.

  - All the prices should be quoted in Pakistani rupees.

  - The successful bidder is responsible to provide onsite training for KIU Technical staff, minimum for one week to operate the equipment according to acceptable standards.

  - The selected bidder bound to provide original bill of lading /entry and paid import taxes etc.

  - In case of doubt supplied equipment will be verified from manufacturer with serial number provided on equipment or from the landing documents etc.

- General terms and conditions:

The following General terms and conditions apply to all categories of this RFP:

  - Sealed Technical bids supported with technical catalogs will be opened on May 16, 2025 at 11:30 am KIU Conference hall.

  - Sealed tenders along with security earnest money Rs.105,435/- for Civil Engineering Lab Equipment and Rs.51,000/- Mining Engineering Lab Equipment in shape of call deposit from any scheduled bank in favor of Karakoram International University Gilgit should be sent via courier services to the Assistant Director Purchases, Karakoram International University, which should reach in at least by 11:00 am in KIU, which will be opened in presence of the committee members and bidders at 11:30 AM on the same date.

  - By hand tenders not be accepted.

  - Ambiguous, conditional and void tenders are liable to be rejected.

  - Taxes will be deducted at source as per rules (if applicable).

  - The equipment will be selected against item (s)-wise lowest rate of each firm, who will stand 1st lowest for the items.

  - RFP will be issued to the firms dealing in Chemicals & Scientific Lab equipment.

  - The university reserves the rights to reject/cancel all or any of the bids as per clause 33 of the Public Procurement Rules, 2004. (Reasons to be communicated if demanded).

  - Validity period of the bids should be 90 days.

  - The decision of the University shall be binding on all concerned and will in no case be challengeable at any forum or any court of law.

  - Bids are liable to be rejected, if they are not in line with the terms, conditions and specifications stipulated in this RFP.

  - During the examination, evaluation and comparison of bids the KIU, at its sole discretion, may ask the bidder for clarification of its bid.

  - The request for clarification and response shall be in writing/email and no change in price or substance of the bid shall be sought, offered or permitted.

  - Delivery time for all items is two weeks after receipt of supply order.

  - Bids submitted via email or fax will not be entertained.

  - The bidder will have to submit a certificate that equipment will be provide of origin mentioned.

  - Bidders will have to provide documentary verifiable evidence regarding authorized agent/dealership of the manufacture.

  - The prospective supplier has to execute an agreement with the University that he will provide the item as per quality and quantity prescribed in the bid documents before the supply order is issued.

  - Bidders have to quote only one option, Bids having more than one option will be treated as non-responsive.

  - The quantity of equipment may increase or decrease as per requirement.

- Clarifications:

Queries regarding this RFP shall be submitted in writing to:

Zahid Ali                                 Shabbir Hussain   		            Nouman Butt

AD Purchases 	                           Director Works		                          Treasurer KIU

Ph: 05811-960010-13(Ext231) Ph: 05811-960010-13 (Ext228)	    Ph: 05811-960036 (Ext107)

zahid.ali@kiu.edu.pk	            Shabbir.hussain@kiu.edu.pk                   treasurer@kiu.edu.pk

13.0	I have read and accept all the terms and conditions.

Manufacturer/Supplier:

Name_________________________________________________________________

Designation____________________________________________________________		Authorized Dealer/Agent in Pakistan:

Name_____________________________________________________________

Designation___________________________________________________________

Signature_____________________________________________________________

Date_________________________________________________________________

BOQ Civil Engineering Technology Labs KIU

- -Concrete Laboratory for Civil Engineering KIU Main Campus Gilgit

| S# | Description | Qty |
| --- | --- | --- |
| 1 | UTM Accessories. (Ultrasonic Pulse Velocity Tester for Concrete) Specifications: ASTM C-597. Transducers operate within a frequency range of 50 to 150 kHz, accuracy of measuring 20 microseconds to 10 milliseconds. 1. Uniformity of the concrete, 2.Cavities, cracks, defects due to fire and frost 3. Modulus of elasticity (general indication only) 4. Concrete strength | 1 |
| 2 | Mechanical Strain Gauge: It is used for finding out the linear deformation caused on two reference points fixed on a loading member. portable gauge is designed for a gauge length of 20 cm. of the reference pins. The deformation is indicated by a 0.002 x 5mm dial gauge attached to the instrument. Complete with two standard bars for 20 cm gauge length supplied in a wooden case | 1 |
| 3 | Concrete vibrating table: 20x20in (508x508mm) platform with a load capacity of up to 300lb (136kg) | 1 |
| 4 | Le Chatelier's apparatus (ASTM C151): Soundness in cement refers to its ability to retain its volume after hardening, preventing destructive expansion and cracking. It's crucial for the long-term durability of concrete structures. | 1 |
| 5 | The Vebe Consistometer(ASTM C1611/C1611M-18) is a device used to measure the consistency and workability of concrete, particularly stiff or dry concrete, by measuring the time it takes for the concrete to be remolded under vibration | 1 |
| 6 | Blaine air apparatus(ASTM C204): Blaine Air Permeability Apparatus determines the fineness of Portland Cement by measuring the specific surface area of fine materials in square centimeters per gram of test sample | 1 |
| B-(Fluid Mechanics and Hydrology Lab) |  |  |
| 1 | Anemometer Accessories: 1)Hygrometer | 1 |
| 2 | Basic Hydrology apparatus accessories: 1)Infiltrometer | 1 |
| C-( Geotechnical Engineering Laboratory) |  |  |
| 1 | Relative Density apparatus accessories: Specifications: ASTM D-1298. 1) Mould 2)Surcharge weights | 1 |
| D-(Survey Laboratory) |  |  |
| 1 | Plane table survey Accessories. 1) Alidade 2) U frame clamp | 8 |
| E-(Environmental Engineering Laboratory) |  |  |
| 1 | Polarized Microscope accessories: 1) Spectrophotometer Single beam, Holographic Grating (1200 Lines/mm) ¦ Bandwidth: 4nm ¦ Wavelength Accuracy: ±2nm ¦ Repeatability: ≤1nm ¦ Stray Light: ≤0.15%T@360nm ¦ Detector: Solid Silicon Photodiode ¦ Light Source: Deuterium/Tungsten Lamp | 1 |
| 2 | Dstillation Unit assessories: Chemical Oxygen Demand (COD) : Range: The range of COD values the instrument can measure (e.g., 0-150 mg/L, 0-1500 mg/L, or higher), Colorimetric/Spectrophotometric: Measures color change after the oxidation reaction. | 1 |
| 3 | Kjedahl apparatus accessories 1)Ammonium-Nitrogen test kit 2)Nitrate test kit 3)Residual Chlorine test kit | 1 |
| 4 | Flasks: 200 ml, 500 ml and 1000 ml (8 each) | 24 |
| F-(Transportation Lab) |  |  |
| 1 | Marshal Stability test apparatus: 1) Analog Marshall Stability Test Machines  MARSHALL LOAD FRAME 1 No.  Breaking Head Stability Mould, with a dial gauge (having 25mm travel and 0.01mm least count), for flow measurement 1 No.  Compaction Mould, Steel cylindrical 3 Nos.  Base Plate 3 Nos.  Extension Collar 3 Nos.  Compaction Pedestal, Manual Operation, Comprising a steel plate capped on a wooden post. A Mould Clamp is fitted to the top of the plate. 1 No.  Compaction Hammer satisfies BS 598. The hammer has a 4535 g sliding weight with a free fall of 457 mm 2 Nos. Load Transfer Bar 1 No.  Paper Discs, Non absorbent, 11 cm diameter pack of 100 No. 1 Pkt | 1 |
| 2 | Los Angeles Abbrassion Machine Accessories: 1)Hardened steel balls with dia of 46-48mm and weight b/w 390-455gms | 12 |

Engr. Israr Ahmad

BOQ Mining Engineering Technology Lab KIU

# Mineral Processing Laboratory

| S# | Equipment Name | Qty |
| --- | --- | --- |
| 1 | XRF, Accessories Metal detects modes. At least three, modes. All metal, Disc, gold. Gold program: 95% Frequency. >335 Hz. Visual display. 120-150 x 160-180 LCD Discrimination. Ferrous and Nonferrous. Depth. >8 feet. Batteries: Internal/Rechargeable/Lithium ion batteries. Power bank for Rechargeable batteries(20k-30k)mah Origin. EU/Japan/USA, Canada. | 1 |

Engr. Naeem Abbas

Mining Engineering Department